Please enter whole numbers
Maximum value is 24
## VERSIONS
Notes versions of this document

V0.2.3		HS	New sheet Q5b – Heat Recovery
V0.2.4		SD	Introducing data for heat pumps ... / new Q4, Q5 and Q5b
V0.2.5		HS	Sheets Q4C and Q4H
V0.2.6		HS	Sheet Q3: enthalpy of waste heat flow / Sheet Q5b: enthalpy of source in HX / ParList: enthalpies in Q3 (parameters Q5b still to be defined!!!) / Elimination of UAProc in Q3 (moved to C3); substituted by QopProc: power requirement in operation / Subdivision of process columns (Q3): up to three in/outflows per process
V0.27		HS	Incorporated sheed “data structure”; processing status added to parameter list
V0.28		HS, BS	Incorporated some missing data blocks (HX, change in Process Data) / Added sheet Q3A from Bettina
V0.33		HS, SD	Several updates in parameter list (SD, HS), Q4 partially linked
(...)
V0.45		HS, BS	Some notes on ideas for changes from JOINTS
V0.46		SD	Format adjustment for printing
V0.47		HS	Clean-up, preparation for translation
V0.48		CV	some bug fixes
V0.49		HS	some bug fixes: internal calculation parameters added that are needed for ccheck error messages
V0.50	18.09.08	HS	BASE VERSION FOR TRANSLATION PACK 2 !!!!
V0.51	17.10.08	HS	Italian translation introduce (document EINSTEIN_Parameters_and_Questionnaire_Pack 1_ITrev from CESTEC, revised by CV)
V0.52	21.10.08	HS	Slovene translation introduced
V0.53	28.10.08	HS	Spanish translation and 2nd part italian translatin introduced
V0.54	30.10.08	HS	Final corrections Slovene version
V0.55	11.11.08	HS	Introduction of polish translation
V0.56	19.12.08	HS	Introduction of corrections from Andreja Gorcek (26/11)
V0.57 / Tool-kit V1.0.03	09.02.09	HS	Some corrections in italian translation suggested by CESTEC (Dino de Simone)
V0.58	13.06.09	HS	Introduction of czech translation
Release V1.1
V1.1.01	02.02.10	HS	Update for EINSTEIN in Austria project: / - modification of Q3A

HOW TO BUILD A PUBLIC RELEASE OF THE QUESTIONNAIRE:

1. Make a copy of this document
2. Delete sheets Data Structure, CSV, PredefinedLists, ...
3. Hide sheet Parameter List

## DataStructure
	EINSTEIN Tool – data structure
				Repeatability	Associated with specific industry?	Lifetime	Notes for ongoing work
1	Characteristic industry-specific data
	Q		Parameters in the basic questionnaire	Repeated for each alternative	yes	infinite
	C		Calculation results		yes	infinite
	E		Evaluation results		yes	infinite

2	Tool configuration data
	P		Set-up data	one current set-up option, maybe several (few) default parameter sets ?	???	can be changed from case to case	should the set-up parameters used for a given study be stored ?
	DB		Data bases	1	no	in continuous evolution	maybe version no.'s of DB's used for a specific industry should be stored, so that the case studies / results can be tracked back.
	U		Configuration of module windows (design assitants; e.g. UHP...)			???	to be stored with industry data, so that window-state can be reproduced ??? or can it be solved just re-calling the necessary calculations ... ????

3	Temporary data for communication modules – GUI

	Gdata (in interfaces)		Input data for tables and graphic plots			???	a) Have data to be stored, so that reports can be reproduced ??? / b) Are plot-data always identical with temporary vectors (Energy flows, etc. ???)

4	Temporary storage of data in between the python modules
	Interfaces		Exchange of numerical results in between Python modules	Temporary data, can be deleted once the processing of the industry is finished	no / (overwritten each time industry is changed) ???	tmp	Is there no better way to store a vector then via a table with 400 names from T5 to T400 ??? isn't there something like DOUBLE(400) ??? / There are at least 3 types of vectors: / - a) temperature dependent vectors Q(T) (From 0 to 400 ºC) / - b) time dependent vectors Q(t) (From 0 to 8769 h) / - c) both time and temperature dependent vectors Q(t,T)
	InternalData		???		no / (overwritten each time industry is changed) ???	tmp	??? Do this really have to be tables in SQL ??? communication from what to what ???

5	State of processing of a specific industry (status)
	S:		State of processing		yes	infinite
	S1:		General state of processing		yes	infinite
	S2:		State of processing of a given alternative		yes	infinite
		...
6	List of Auditors
	Auditors		???			infinite	List with contact details of auditors

## PredefinedLists
	Lists of predefined data

	Parameter		List

	EquipeType			Class
			compression heat pump
			thermal heat pump
			steam boiler
			condensing boiler
			hot water boiler
			burner (direct heating)
			burner (indirect heating)
			compression chiller
			thermal chiller
			solar thermal (flat-plate)
			solar thermal (evacuated tubes)
			solar thermal (concentrating solar systems)
			CHP engine
			CHP steam turbine
			CHP gas turbine
			CHP fuel cell

	HPType / UHPType			Class
			compression	VC
			thermal	TH

	UnitOp
			Plating chromium
			Electroplating nickel
			Plating copper and copper alloy
			Ageing
			Cooling of production halls
			Cooling, chilling and cold stabilization
			Heating of production halls
			Boiler feed-water preheating
			Thawing
			Pre-heating
			Soaking
			Cooking and boiling
			Sterilization
			Pasteurization
			Blanching
			Deodorization
			Distillation
			Evaporation
			Drying
			Rinsing
			Metal stripping
			Electrolitically assisted pickling, activation and degreasing
			Etching and descalling
			Pickling
			Aqueous cleaning
			Solvent degreasing
			Electropolishing
			Cleaning of production halls and equipment
			Washing products
			Cleaning of bottles and cases
			Plating zinc and zinc alloy
			Plating cadmium
			Plating tin and alloy
			Plating precious metal
			Autocatalytic plating
			Immersion coatings
			Oiling
			Anodizing
			Sealing following anodizing
			Conversion coatings (phosphate layer)
			Conversion coatings (chromium)
			Coating oxide (chemical blacking)
			Brightening
			Chemical milling
			Melting
			Extraction
			Bleaching
			Electropainting
			Lacquering
			Colour anodizing on aluminium
			Metal colouring
			Materials handling and storage
			Vacuum generation
			Deinking
			Lime kiln
			Packaging and filling
			filleting
			Canning and bottling
			Kegging
			Sorting/screening, grading, dehulling, destemming/destalking and trimming
			Peeling (refining)
			Cutting, slicing, chopping, mincing, pulping and pressing
			Caustic Peeling
			Steam Peeling
			Neutralisation
			Soap splitting
			Hardening
			Stock preparation
			Paper machine
			delignification
			causticizing
			refining
			Dispersion
			Beet sugar production
			Brewhouse
			Process water
			Service water
			Flotation
			Filtering
			Turbine generator

	ProcType
			continuous
			batch

	Refrigerant
			R134a
			R717
			R404a
			R22

	yes/no
			yes
			no

	continuous/batch
			continuous
			batch

	sensible/latent
			sensible
			latent

ParameterList	Parameter shown	Parameter returned	List		Page e-Questionnaire / tool	Type of data in SQL	Tabla SQL

NACE code	CodeNACE			Class	General data 1		dbnacecode
			A1
			A2
			B5
			CA10
			CA11
			CA12
			CB13
			CB14
			DA15
			DA16
			DB17
			DB18
			DC19
			DD20
			DE21
			DE22
			DF23
			DG24
			DH25
			DI26
			DJ27
			DJ28
			DK29
			DL30
			DL31
			DL32
			DL33
			DM34
			DM35
			DN36
			DN37
			E40
			E41
			F45
			G50
			G51
			G52
			H55
			I60
			I61
			I62
			I63
			I64
			J65
			J66
			J67
			K70
			K71
			K72
			K73
			K74
			L75
			M80
			N85
			O90
			O91
			O92
			O93
			P95
			P96
			P97
			Q99

NACE subcode	CodeNACEsub	DBNaceCode_ID		Class	General data 1		dbnacecode
			0
			10
			11
			12
			13
			20
			21
			22
			23
			24
			25
			30
			40
			41
			42
			50

			0
			1
			2

			0
			1
			2

			0
			10
			20
			30

			0
			10
			20

			0

			0
			10
			20

			0
			10
			11
			12
			13
			20
			21
			22
			30
			40
			50

			0
			10
			11
			12
			13
			20
			30
			31
			32
			33
			40
			41
			42
			43
			50
			51
			52
			60
			61
			62
			70
			71
			72
			80
			81
			82
			83
			84
			85
			86
			87
			88
			89
			90
			91
			92
			93
			94
			95
			96
			97
			98

			0

			0
			10
			11
			12
			13
			14
			15
			16
			17
			20
			21
			22
			23
			24
			25
			30
			40
			50
			51
			52
			53
			54
			60
			70
			71
			72

			0
			10
			20
			21
			22
			23
			24
			30

			0
			10
			20
			30

			0
			10
			20
			30
			40
			50
			51
			52

			0
			10
			11
			12
			20
			21
			22
			23
			24
			25

			0
			10
			11
			12
			13
			14
			15
			20
			21
			22
			23
			24
			25
			30
			31
			32
			33

			0
			10
			20
			30

			0
			10
			11
			12
			13
			14
			15
			16
			17
			20
			30
			40
			41
			42
			50
			51
			52
			60
			61
			62
			63
			64
			65
			66
			70

			0
			10
			11
			12
			13
			20
			21
			22
			23
			24

			0
			10
			11
			12
			13
			14
			15
			20
			21
			22
			23
			24
			25
			26
			30
			40
			50
			51
			52
			53
			60
			61
			62
			63
			64
			65
			66
			70
			80
			81
			82

			0
			10
			20
			21
			22
			30
			31
			32
			33
			34
			40
			41
			42
			43
			44
			45
			50
			51
			52
			53
			54

			0
			10
			11
			12
			20
			21
			22
			30
			40
			50
			51
			52
			60
			61
			62
			63
			70
			71
			72
			73
			74
			75

			0
			10
			11
			12
			13
			14
			20
			21
			22
			23
			24
			30
			31
			32
			40
			41
			42
			43
			50
			51
			52
			53
			54
			55
			56
			60
			70
			71
			72

			0
			1
			2

			0
			10
			20
			30
			40
			50
			60
			61
			62

			0
			10
			20
			30

			0
			10
			20
			30
			40
			50

			0
			10
			20
			30

			0
			10
			11
			12
			20
			30
			40
			41
			42
			43
			50

			0
			10
			11
			12
			13
			14
			15
			20
			21
			22
			30
			40
			50
			60
			61
			62
			63

			0
			10
			20

			0
			10
			11
			12
			13
			20
			21
			22
			30

			0

			0
			10
			11
			12
			20
			21
			22
			23
			24
			25
			30
			31
			32
			33
			34
			40
			41
			42
			43
			44
			45
			50

			0
			10
			20
			30
			40
			50

			0
			10
			11
			12
			13
			14
			15
			16
			17
			18
			19
			20
			21
			22
			23
			24
			25
			30
			31
			32
			33
			34
			35
			36
			37
			38
			39
			40
			41
			42
			43
			44
			45
			46
			47
			50
			51
			52
			53
			54
			55
			56
			57
			80
			81
			82
			83
			84
			85
			86
			87
			88
			90

			0
			10
			11
			12
			20
			21
			22
			23
			24
			25
			26
			27
			30
			31
			32
			33
			40
			41
			42
			43
			44
			45
			46
			47
			48
			50
			60
			61
			62
			63
			70
			71
			72
			73
			74

			0
			10
			20
			21
			22
			23
			30
			40
			50
			51
			52

			0
			10
			20
			21
			22
			23
			24
			30

			0
			10
			20

			0
			10
			20
			30

			0
			10
			11
			12
			20
			21
			22
			23
			30
			40

			0
			10
			11
			12
			20

			0
			10
			11
			12
			20
			21
			22
			23

			0
			1
			2
			3

			0
			10
			11
			12
			13
			20

			0
			10
			11
			12
			20
			30
			31
			32

			0
			10
			20
			21
			22
			23
			30
			31
			32
			33
			34
			40

			0
			10
			20
			21
			22
			30
			40
			50
			60

			0
			10
			20

			0
			10
			11
			12
			13
			14
			15
			20
			30
			40
			50
			60
			70
			80
			81
			82
			85
			86
			87

			0
			10
			11
			12
			13
			14
			20
			21
			22
			23
			24
			25
			30

			0
			10
			20
			21
			22
			30
			40
			41
			42

			0
			10
			11
			12
			13
			14
			20
			30
			31
			32

			0
			1
			2
			3

			0
			10
			11
			12
			20
			30
			31
			32
			33

			0
			10
			11
			12
			13
			20
			30
			31
			32
			33
			34
			40
			50
			51
			52
			53
			60
			61
			62
			70
			71
			72

			0
			1
			2
			3
			4
			5

			0

			0

			0

			0

Start date/end date	Calender list / Calender list	NoProdStart / NoProdStop		Class	General data 2	VARCHAR(6)
			Calender: day/month

	ProductCode	ProductCode		Class	General data 2	VARCHAR(45)	qproduct
			ZZ999
			ZZ000
			DA010
			DA020
			DA030
			DA040
			DA050
			DA060
			DA070
			DA080
			DA090
			DA100
			DA110

	FluidName	DBFluid_ID		Class			dbfluid
			Water
			Steam_7bar
			Air
			Thermal Oil
			R134a
			R717
			R404a
			R22
			Milk
			Steam_2bar
			aqueous cleaning chemical
			Steam

	FuelName	DBFuel_ID		Class	Energy consumption 1	VARCHAR(45)	dbfuel
			Natural gas
			Liquid petroleum gas
			Heavy fuel oil
			Butane
			Propane
			Gas oil

	FuelUnit	FuelUnit		Class	Energy consumption 1	VARCHAR(45)	qfuel
			kg
			lb
			t
			m3
			l
0			ft3
			U.S. gal
			Brit. gal
			barrel (U.S. pet.)

	ProcType	ProcType		Class	Process data 1	VARCHAR(45)	qprocessdata
			continuous
			batch

UnitOp	UnitOperation	DBUnitOperation_ID		Class	Process data 1	VARCHAR(45)	dbunitoperation
			entries dbunitoperation

	ProcMed	ProcMed		Class	Process data 1		qprocessdata
			water
			air
			milk
			...

	ProcMedOut	ProcMedOut		Class	Process data 2	DOUBLE??	qprocessdata
			water
			air
			exhaust gas
			...

	HeatRecOK	HeatRecOK		Class	Process data 2	TINYINT	qprocessdata
			yes
			no

	HeatRecExist	HeatRecExist		Class	Process data 2	TINYINT	qprocessdata
			yes
			no

	EquipeType	EquipeType		Class	Generation of heat and cold	VARCHAR(45)	qgenerationhc
			compression heat pump	HP
			thermal heat pump	HP

			steam boiler	BB
			condensing boiler	BB
			...	BB

	Refrigerant	Refrigerant		Class	Generation of heat and cold	DOUBLE??	qgenerationhc
			water (RXXX)
			ammonia (RXXX)
			R999XY
			...

FuelType	FuelName	DBFuel_ID		Class	Generation of heat and cold	INT(10)	dbfuel
			entries dbfuel

	UnitsFuelConsum	UnitsFuelConsum		Class	Generation of heat and cold	VARCHAR(45)	qgenerationhc
			list to be defined

	TypeStorage	TypeStorage		Class	Distribution of heat and cold 2	VARCHAR(45)	dqdistributionhc
			list to be defined

HXSourceInlet	HXSource	HXSource		Class	Heat recovery 1	VARCHAR(45)	qheatexchanger
			plate HX (liquid-liquid)
			plate HX (air-air)
			shell and tube HX (liquid-liquid)
			finned tubes (liquid-air)

	HXSink	HXSink		Class	Heat recovery 1	VARCHAR(45)	qheatexchanger
			list of all processes, equipments, pipes (short names) entered previously

	HXType	HXType		Class	Heat recovery 1	VARCHAR(45)	qheatexchanger
			plate HX (liquid-liquid)
			plate HX (liquid-liquid)
			shell&tube HX (liquid-liquid)
			finned tubes (liquid-air)

	WHEEEqType	WHEEEqType		Class	Heat recovery 2	VARCHAR(45)	qwasteheatelequip
			electric motor
			compressor
			...

	WHEEWasteHeatType	WHEEWasteHeatType		Class	Heat recovery 2	VARCHAR(45)	qwasteheatelequip
			list to be defined ??

	WHEEPresentUse	WHEEPresentUse		Class	Heat recovery 2	VARCHAR(45)	qwasteheatelequip
			yes
			no

	EnclBuildGroundSketch	EnclBuildGroundSketch		Class	Renewable energies 2	TINYINT	qrenewables
			yes
			no

	Calender list / Calender list	PeriodBiomassProcStart / Stop		Class	Renewable energies 3	VARCHAR(6)	qrenewables
			Calender: day/month

	Calender list / Calender list	BuildingHolidaysPeriodStart / Stop		Class	Buildings	TINYINT	qbuildings
			Calender: day/month

	Calender list / Calender list	BuildingHeatingPeriodStart / Stop		Class	Buildings	TINYINT	qbuildings
			Calender: day/month

	Calender list / Calender list	BuildingAirCondPeriodStart / Stop		Class	Buildings	TINYINT	qbuildings
			Calender: day/month

	UHPType			Class	Heat pumps	VARCHAR(45)	uheatpump
			compression	VC
			thermal	TH

	HPType			Class	DBHeatPump	VARCHAR(45)	dbheatpump
			compression	VC
			thermal	TH
Azimuth	Orientation			Class	Renewables: Solar thermal energy
			S
			SE
			SW
			E
			W
			NE
			NW
			N
Shading	Shading problems?			Class	Renewables: Solar thermal energy
			No
			Yes,partially shaded
			Yes,fully shaded
RoofType	Type of roof			Class	Renewables: Solar thermal energy
			Corrugated metal roof
			Composite sandwich panels
			Concrete roof
			Tiled roof
			Other

	EquipmentType
			electric motor
			compressor
			other

	WasteHeatType
			cooling water
			intercooler
			cooling air

## CSV
Index	Code	Description	Unit	HelpText	DataType	DefaultValue	MinValue	MaxValue	Required
100		General information	-						1
101	Name	name of the company	-
102	City	city / country	-
103	DescripIndustry	description of the industry	-
104	Branch	branch	-
105	SubBranch	sub-branch	-
106	NACE	NACE code	-
107	SubNACE	NACE code subsector	-
108	Contact	name of contact person	-
109	Role	Role of contact person in the company	-
110	Address	address	-						0
111	Phone	Telephone No	-
112	Fax	Fax No	-
113	Email	E-mail	-
200		Statistical and economical data
201	NEmployees	number of employees	-
202	Turnover	annual turnover	M?/year
203	ProdCost	annual production cost	M?/year
204	BaseYear	base year for ec. Data	-
205	Growth	growth rate of the production volume foreseen for the next 5 years	%/year
206	Independent	Is the company independent ?	yes/no					24
207	OMThermal	Yearly O&M heat & cold	?/year
208	OMElectrical	Yearly O&M electrical	?/year					365
209		Period of operation
210	HPerDayInd	total hours of operation per working day	h/day
211	NShifts	number of shifts	-
212	NDaysInd	days of production / operation per year	days
213	NoProdStart	principal period of holidays or stops for maintenance - start date
214	NoProdStop	principal period of holidays or stops for maintenance - end date
215		Information on products
216	Product	type of product	-
217	ProductCode	product's code	-
218	QProdYear	quantity of product(s) per year	product-units/year
219	ProdUnit	measurement unit for product quantity	-
220	TurnoverProd	anual turnover per product	M?/year
C201	NProducts	Number of products	-
C202	HoursInd	Total yearly working hours in industry	-
300		Processes description
301	Process	process short name	-
302	UnitOp	unit operation type	-
303	ProcType	process type	continuous / batch
304	ProcMed	Product or process medium (water, oil, air, lye ...)						24
305	PT	typical(final) temperature of the process medium during operation	øC
306	PTInFlow	inlet temperature of the process medium (before heat recovery)	øC
307	PTStartUp	start-up temperature of process medium after breaks	§C					24
308	VInFlowDay	Daily inflow of process medium	mü
309	VolProcMed	Volume of the process medium within the equipment or storage	mü
310	UAProc	Thermal heat loss coefficient of the process	kW/K
311		Schedule
312	HPerDayProc	hours of process operation per day	hrs/day
313	NBatch	Number of batches per day
314	HBatch	Duration of 1 batch	h
315	NDaysProc	days of operation per year	days / year
316		Waste heat (heat available for recovery)
317	PTOutFlow	outlet temperature of waste heat flows	øC
318	PTFinal	final temperature of waste heat flows	§C
319	VOutFlow	Daily outflow of process medium	mü
320	HeatRecOK	can heat be recovered from the outflowing medium ?	(yes/no)
321		Waste heat recovery for this process
322	HeatRecExist	Exists heat from heat recovery for the process ?	(yes/no)
323	SourceWasteHeat	Source of waste heat	-
324	PTInFlowRec	inlet temperature of the process medium (after heat recovery)	øC
325	EnclChartHCSupply	Enclosing Flowchart of HC supply system
326		Data of existing Heat (or Cold-) Supply to the process
327	SupplyMed	heat or cold supply medium (water, steam, air)
328	PipeDuctProc	heat or cold supply to the process from distribution line / branch No.
329	TSupply	Temperature of the heat or cold supply	øC
330	SupplyMedFlow	flow rate	mü/h
331	UPHtotQ	UPH from questionnaire (annual)	MWh / year
C301	UPH	TOTAL- Useful process heat (per process - UPHk)	MWh
C302	UPHc	circulation / renovation	MWh
C303	UPHm	maintenance	MWh
C304	UPHs	preheating at start-up	MWh
C305	UPHw	available waste heat from processes	MWh
C306	UPHp	preheating from waste heat	MWh
C307	UPHmin	minimum required heat demand with heat recovery	MWh
C309	ProcHC	Heating (1) or Cooling (-1)	-
C310	UPCtot	total process cooling demand	MWh
C311	UPCnet	total process cooling demand after heat recovery	MWh
C313	PMU	measurement unit for process medium (pmu)	-
C314	MProcMed	yearly quantity of medimum processed	pmu/a
C316	PE_SEC	Specific energy consumption (primary energy)	kWh/pmu
C317	EL_SEC	Specific energy consumption (electricity)	kWh/pmu
C319	UPH_SEC	Specific energy consumption (UPH)	kWh/pmu
C321	TEnvProc	Temperature of the process environment for calculation of heat losses under operation	§C
C323	NThProc	Number of thermal processes	-
C326	QdotProc_c	circulation / renovation	kW
C327	QdotProc_m	maintenance	kW				0	24
C328	QdotProc_s	preheating at start-up	kW				0	365
C329	QdotProc_w	waste heat recovery	kW
400		Fuel consumption and cost
401	Fuel	Fuels used	-
402	FuelUnit	Unit	-
403	MFuelYear	Annual consumption	units/year
404	FuelOwn	Total own fuel consumption (LCV)	MWh / year (LCV)
405	FuelTariff	Fuel price	?/kWh LCV
406	FuelCostYear	Annual energy cost	?/year
407		Electricity cosumption and cost
408	PowerContrTot	Contracted power total	kW
409	PowerContrStd	Contracted power standard
410	PowerContrPeak	Contracted power peak
411	PowerContrVall	Contracted power valley
412	ElectricityTotYear	Annual consumption total	MWh / year
413	ElectricityPeakYear	Annual consumption peak	MWh / year
414	ElectricityStandYear	Annual consumption standard	MWh / year
415	ElectricityValleyYear	Annual consumption valley	MWh / year
416	ElGenera	Self-generation (co-generation)	MWh / year
417	ElSales	Sales to grid (co-generation)	MWh / year
418	ElectricityLight	Electricity for lightning
419	ElTariffClassTot	Tariff type / class (total)	-
420	ElTariffClassStd	Tariff type / class (standard)
421	ElTariffClassPeak	Tariff type / class (peak)
422	ElTariffClassTotVall	Tariff type / class (valley)
423	ElTariffClassCHP	Tariff type / class (CHP)
424	ElTariffPowTot	Tariff on installed power (total)	?/kWmonth
425	ElTariffPowStd	Tariff on installed power (standard)	?/kWmonth
426	ElTariffPowPeak	Tariff on installed power (peak)	?/kWmonth
427	ElTariffPowVall	Tariff on installed power (valley)	?/kWmonth
428	ElTariffPowCHP	Tariff on installed power (CHP)	?/kWmonth
429	ElTariffCTot	Tariff on consumption (total)	?/MWh
430	ElTariffCStd	Tariff on consumption (standard)	?/MWh
431	ElTariffCPeak	Tariff on consumption (peak)	?/MWh				0	24
432	ElTariffCVall	Tariff on consumption (valley)	?/MWh				0	365
433	ETariffCHP	Tariff sales of CHP(without feedin-tariff)	?/MWh
434	ElCostYearTot	Annual electricity cost total	?/year
435	ElCostYearStd	Annual electricity cost standard	?/year
436	ElCostYearPeak	Annual electricity cost peak	?/year
437	ElCostYearVall	Annual electricity cost valley	?/year
438	ElSalesYearCHP	Annual electricity sales CHP	?/year
439	PercentElTotcost	Percentage of electricity cost on overall production cost	%
440	PercentFuelTotcost	Percentage of fuel cost on overall production cost	%
441	EnclMonthlyFuelBills	Enclosing monthly fuel bills?
442	EnclMonthlyElBills	Enclosing monthly electricity bills?
443	ElProd	Electricity consumption per product	MWh / year
444	FuelProd	Fuel consumption per product	MWh / year (LCV)
C400	PETOTAL	Total primary energy consumption	MWh / year
C401	PETOTAL_EXT	Total primary energy consumption extrapolated to growth of production volume	MWh / year
C402	PE_INT	Primary energy intensity (turnover)	kWh/?
C403	PE_SEC	Specific energy consumption (primary energy)	kWh/up
C404	EL_OWN	Total own electricity consumption	MWh / year
C405	EL_OWN_EXT	Total own electricity consumption extrapolated to growth of production volume	MWh / year
C406	EL_INT	Intensity of electricity consumption on turnover	kWh/?
C407	EL_SEC	Specific energy consumption (electricity)	kWh/up
C408	FUEL_OWN_EXT	Total own fuel consumption extrapolated to growth of production volume	MWh / year
C409	FUEL_INT	Intensity of fuel consumption (LCV) on turnover	kWh/?
C410	FUEL_SEC	Specific energy consumption (fuel)	kWh/up
C411	FECi	Final energy consumption per fuels (No. 7 = electricity for thermal uses)	MWh / year
C412	FEC	Final energy consumptioin total (for the analysed industry)
C413	FETi	total FET per fuel type (for energyStatistics)
C414	FuelCode	Fuel code	-				0	365
C415	NFuels	Number of fuels	-
C416	ELECTRICITY_Type	Electricity by type of use	-
C417	ElecticityThermUse	Electricity for thermal use (total industry)
C418	ElectricityNonThermUse	Electricity for non thermal use (total industry)
C419	PEConvFuelMix	Conversion to primary energy of fuel mix	kWhEP/kWhLCV
C420	CO2ConvFuelMix	Specific CO2 emission of fuel mix	t-CO2/kWhLCV
C421	PEConvFuelCHP	Conversion to primary energy of fuel mix	kWhEP/kWhLCV
C422	CO2ConvFuelCHP	Specific CO2 emission of fuel mix	t-CO2/kWhLCV
C423	FuelTariffMix	Mean tariff of the fuel mix	?/MWh
C424	FuelTariffCHP	Fuel tariff for CHP	?/MWh
C425	PECFuels	Total Primary Energy per all fuels used in industry	MWh
C426	PECElect	Total Primary Energy per all electricity used in industry	MWh
C427	PETFuels	Total Primary Energy per all fuels thermal use
C428	PETElect	Total Primary Energy per all electricity thermal use
C429	FECel	Total electricity consumed by the factory
C430	FETel	Total electricity consumed by the factory for thermal uses
500		Equipment for heat and cold generation
501	Equipment	Short name of equipment	-
502	Manufact	Manufacturer
503	YearManufact	Year of manufacturing or/and installation?
504	Model	Model
505	EquipType	Type of equipment
506	NumEquipUnits	Number of units of the same type
507	FuelType	Fuel type
508	HCGPnom	Nominal Power (heat or cold, output)	kW
509	FuelConsum	Fuel consumption (nominal)
510	UnitsFuelConsum	Units (fuel consumption)	-
511	ElectriConsum	Electricity consumption	kW
512	HCGTEfficiency	Mean overall thermal conversion efficiency	%
513	HCGEEfficiency	CHP only: Electrical conversion efficiency	%
514	ElectriProduction	CHP only: Electricity production	kW
515	TExhaustGas	Temperature of exhaust gas at standard operation conditions	§C
516	PartLoad	Mean utilisation factor (full capacity = 100%)	%
517	HPerDayEq	hours of operation per day	hrs/day
518	NDaysEq	days of operation per year	days / year
519	USHtotQ	Useful Supply Heat from questionnaire	MWh / year
520	PipeDuctEquip	heat or cold supplyed to the distribution line / branch (piping or duct) no.	-
521	CoolTowerType	Only for cooling: Type of cooling tower: dry/wet ?
C501	NEquip	Number of supply equipments of each type (boilers, ?) / No. of units	-
C502	USH	Useful Supply Heat for industry (total)
C503	USHj	Useful Supply Heat by equipment	MWh / year
C504	FET	Final Energy consumption for Thermal use for industry (total)
C505	FETj	Final energy for thermal use (consumed by each equipment)	MWh / year
C506	HGEffAvg	Average conversion efficiency from final energy to useful supply heat	-
600		Distribution of heat/cold
601	Pipeduct	Name of the branch / distribution system	-
602	HeatFromEquipNo	Heat or cold supply comes from equipment(s) no.:	-
603	HeatDistMedium	heat or cold distribution medium	-
604	DistribCircFlow	nominal production or circulation rate(specify units)	mü/hkg/h
605	ToutDistrib	outlet temperature (to distribution)	øC
606	TreturnDistrib	return temperature (from distribution)	øC
607	PercentRecirc	Percentage of recirculation	%
608	Tfeedup	feed-up in open circuit	øC
609	PressDistMedium	pressure	bar
610	PercentCondRecovery	percentage of condensate recovery (steam boilers only)	%
611	TotLengthDistPipe	total length of distribution piping or ducts (one way)	m
612	UDistPipe	total coefficient of heat losses for piping or ducts	kW/K
613	DDistPipe	mean pipe diameter	mm
614	DeltaDistPipe	insulation thickness	mm
615		Storage
616	NumStorageUnits	Number of the heat or cold storage units	-
617	VtotStorage	Total volume of the storage	mü
618	TypeStorage	Type of storage / storage medium	-
619	PmaxStorage	maximum pressure	bar
620	TmaxStorage	maximum temperature of the storage	øC
621	EnclChartHCDistribSys	Enclosing flowchart of the heat supply and distribution system?	yes/no
C601	NPIPEDUCT	Number of pipes or ducts	-
C602	HDEffAvg	Average distribution efficiency	-
800		Buildings
801	NBuild
802	BuildName	Building short name	-
803	BuildConstructSurface	Constructed surface	m2
804	BuildUsefulSurface	Useful surface	m2
805	BuildUsage	Use of the building
806	BuildEnergyDemand	Global data on energy demand
807	BuildMaxHP	Maximum heating power	kW
808	BuildMaxCP	Maximum cooling power	kW
809	BuildAnnualHeating	Annual heating demand	MWh / year
810	BuildAnnualAirCond	Annual demand of air conditioning	MWh / year
811	BuildDailyDHW	Daily consumption of DHW	l/day
812	BuildHoursOccup	Hours of occupation	h/day
813	BuildDaysInUse	Days of use per year	days/year
814	BuildHolidaysPeriod	Holidays period	-
815	BuildHeatingPeriod	Heating period
816	BuildAirCondPeriod	Air conditioning period
817	EnclBuildDraw	Enclosing building drawing or sketch?	yes/no
900		Renewable energy
901	REMotivation	Main motivation for renewable energy use
902	REInterest	Are you interested in the use of renweable energy? (solar thermal/biomass)	yes/no
903	REReason	If affirmative, please specify the principal reasons:
904	SurfAreaRoof	Available roof area	mý
905	SurfAreaGround	Available ground area	mý
906	InclinationRoof	Positioning of the roof area	Inclination
907	InclinationGround	Positioning of the ground area	Inclination
908	OrientationRoof	Orientation of the roof area	orientation to south
909	OrientationGround	Orientation of the ground area	orientation to south
910	ShadingRoof	shading of roof
911	ShadingGround	shading of ground
912	DistanceToRoof	Distance between roof and process
913	DistanceToGround	Distance between ground and process
914	RoofType	Type of roof
915	RoofStaticLoadCap	static load capacity of the roof(s)	kg/mý
916	EnclBuildGroundSketch	Enclosing of drawing or scheme of building?	yes/no
920		Biomass
921	BiomassFromProc	Type of biomass available from processes	-
922	PeriodBiomassProcStart	Period of year the biomass is available - start
923	PeriodBiomassProcStop	Period of year the biomass is available - stop
924	NDaysBiomassProc	Number of days biomass is produced	days
925	QBiomassProcDay	Daily quantity of biomass	t/day
926	SpaceBiomassProc	Space availability to stock biomass	m3
927	LCVBiomassProc	LCV biomass	kWh/kg
928	HumidBiomassProc	Humidity	%
929	BiomassFromRegion	Type of biomass available from the region	-
930	PriceBiomassRegion	Unit price of biomass	?/t
931	PeriodBiomassRegionStart	Period of year the biomass is available - start
932	PeriodBiomassRegionStop	Period of year the biomass is available - stop
933	NDaysBiomassRegion	Number of days the biomass is produced	days
1000		Economic parameters used in the economic analysis and the comparative analysis of possible alternatives
1001	InflationRate	General inflation rate	%
1002	FuelPriceRate	Rate of increment of energy prices	%
1003	InterestExtFinancing	Nominal rate of interest for external financing of installations	%
1004	PercentExtFinancing	Percentage of external financing for installations	%
1005	AmortisationTime	Time for economic amortisation of installations	years
1007	PublicFundType	Type (credit, subvention)
1008	OMGenTot	General maintenance - total costs	?/year
1009	OMGenOP	General maintenance - own personnel	?/year
1010	OMGenEP	General maintenance - external personnel	?/year
1011	OMGenFung	General maintenance - fungible assets	?/year
1012	OMBuildTot	Buildings - total costs	?/year
1013	OMBuildOP	Buildings - own personnel	?/year
1014	OMBuildEP	Buildings - external personnel	?/year
1015	OMBiuildFung	Buildings - fungible assets	?/year
1016	OMMachEquipTot	Machines and equipment - total costs	?/year
1017	OMMachEquipOP	Machines and equipment - own personnel	?/year
1018	OMMachEquipEP	Machines and equipment - external personnel	?/year
1019	OMMachEquipFung	Machines and equipment - fungible assets	?/year
1020	OMHCGenDistTot	Generation and distribution of heat and cold - total costs	?/year
1021	OMHCGenDistOP	Generation and distribution of heat and cold - own personnel	?/year
1022	OMHCGenDistEP	Generation and distribution of heat and cold - external personnel	?/year
1023	OMHCGenDistFung	Generation and Distribution of heat and cold - fungible assets	?/year
1024	OMTotalTot	Total - total costs	?/year
1025	OMTotalOP	Total - own personnel	?/year
1026	OMTotalEP	Total - external personnel	?/year
1027	OMTotalFung	Total - fungible assets	?/year
1028	EnergyManagExisting	Is there any energy menagement system implemented?	yes/no
1029	EnergyManagExternal	Is the energy menagent externalized?	yes/no
P001	PEConvEl	Conversion to primary energy of electricity	kWhEP/kWh
P002	CO2ConvEl	Specific CO2 emission of electricity	t-CO2/kWh
P003	HRInvRate	Specific investment cost for heat recovery system	?/(kW/K)
P004	HROMRate	Specific annual O&M cost for heat recovery system	?/(kW/K)
P005	FeedInCHP	Feedin Tariff for CHP Electricity	?/MWh
P006	SolarInvRateL	Specific turn-key installation cost large systems ( > 1 MW)	?/kW
P007	SolarInvRateS	Specific turn-key installation cost small systems (< 10 kW)	?/kW
P008	SolarOMRate	specific yearly O&M costs	?/kW
P009	SolarFunding	Percentage of public funding	-
P010	QuSolar	Specifc solar useful heat production	kWh/kW
P011	Inflation	Inflaci¢ general
P012	InflationFuels	Increment previst preu de combustible (nominal)
P013	InterestRate	Interest rate for external financing
P014	ExternalFinance	Percentage of external financing
P015	Amortisation	Amortisation period
P016	Annuity	Annuity of investment
P017	EEFunding	Public funding for energy saving measures
E100		Benchmark data
E101	PE_INT_BML	benchmark (lower limit)	[kWh/?]
E102	PE_INT_BMH	benchmark (upper limit)	[kWh/?]
E103	PE_INT_TAR	target	[kWh/?]
E104	PE_INT_REF	reference code selected benchmark and target	[kWh/?]
E105	EL_INT_BML	benchmark (lower limit)
E106	EL_INT_BMH	benchmark (upper limit)
E107	EL_INT_TAR	target
E108	EL_INT_REF	reference code selected benchmark and target
E109	FUEL_INT_BML	benchmark (lower limit)
E110	FUEL_INT_BMH	benchmark (upper limit)
E111	FUEL_INT_TAR	target
E112	FUEL_INT_REF	reference code selected benchmark and target
E113	PE_SEC_BML	benchmark (lower limit)
E114	PE_SEC_BMH	benchmark (upper limit)
E115	PE_SEC_TAR	target
E116	PE_SEC_REF	reference code selected benchmark and target
E117	EL_SEC_BML	benchmark (lower limit)
E118	EL_SEC_BMH	benchmark (upper limit)
E119	EL_SEC_TAR	target
E120	EL_SEC_REF	reference code selected benchmark and target
E121	FUEL_SEC_BML	benchmark (lower limit)
E122	FUEL_SEC_BMH	benchmark (upper limit)
E123	FUEL_SEC_TAR	target
E124	FUEL_SEC_REF	reference code selected benchmark and target
E125	PE_UOS_BML	benchmark (lower limit)
E126	PE_UOS_BMH	benchmark (upper limit)
E127	PE_UOS_TAR	target
E128	PE_UOS_REF	reference code selected benchmark and target
E129	EL_UOS_BML	benchmark (lower limit)
E130	EL_UOS_BMH	benchmark (upper limit)
E131	EL_UOS_TAR	target
E132	EL_UOS_REF	reference code selected benchmark and target
E133	UPHS_BML	benchmark (lower limit)
E134	UPHS_BMH	benchmark (upper limit)
E135	UPHS_TAR	target
E136	UPHS_REF	reference code selected benchmark and target
E137	ENE_INT_CHK	evaluation of energy intensity
E138	ENE_INT_COM	comment on evaluation of energy intensity
E139	ENE_SEC_CHK	evaluation of energy intensity
E140	ENE_SEC_COM	comment on evaluation of energy intensity
E141	ENE_UOS_CHK	evaluation of energy intensity
E142	ENE_UOS_COM	comment on evaluation of energy intensity
X000		GUI LABELS
X001		Einstein		Menu
X002		Open		Menu
X003		Save		Menu
X004		Import		Menu
X005		Export		Menu
X006		Exit		Menu
X007		Setup		Menu
X008		Edit Database		Menu
X009		Preferences		Menu
X010		General data		Frame
X011		Energy consumption		Frame
X012		Processes data		Frame
X013		Generation of heat and cold		Frame
X014		Distribution of heat and cold		Frame
X015		Renewable energies		Frame
X016		Buildings		Frame
X017		Economic parameters		Frame
X018		Edit Industry Data		treenode
X019		store data		button
X020		Period of operation		stInfo3Page1
X021		General information		stInfo1Page1
X022		Statistical and economical data		stInfo2Page1
X023		Product list		stInfo6Page1
X024		Information on products		stInfo4Page1
X025		add product		buttonPage1
X026		Energy consumption by product		stInfo5Page1
X027		delete product		buttonPage1
X028		clear		button
X029		Fuel consumption and cost		stInfo1Page2
X030		Fuel list		stInfo2Page2
X031		add fuel		buttonAddFuelPage2
X032		Remove from list		buttonRemoveFuelFromListPage2
X033		Electricity consumption and cost		stInfo3Page2
X034		annual consumption MWh/year		labelGridPage2
X035		contracted power kW		labelGridPage2
X036		tariff type		labelGridPage2
X037		tariff on installed power €/kW month		labelGridPage2
X038		tariff on consumption €/kWh		labelGridPage2
X039		annual electricity cost €/MWh		labelGridPage2
X040		Electric consumption -		labelGridPage2
X041		according type of use		labelGridPage2
X042		annual consumption MWh/year		labelGridPage2
X043		Peak		labelGridPage2
X044		Standart		labelGridPage2
X045		Valley		labelGridPage2
X046		TOTAL		labelGridPage2
X047		self-generation		labelGridPage2
X048		sales to grid		labelGridPage2
X049		Electricity for thermal uses		labelGridPage2
X050		Electricity for non-thermal uses		labelGridPage2
X051		Refrigeration		labelGridPage2
X052		Air Conditioning		labelGridPage2
X053		Other uses		labelGridPage2
X054		Motor and machines		labelGridPage2
X055		Electro-chemics		labelGridPage2
X056		Lighting		labelGridPage2
X057		add process		buttonAddProcessPage3
X058		delete process		buttonDeleteProcessPage3
X059		Process list		stInfo1Page3
X060		Equipment list		stInfo1Page4
X061		delete equipment		buttonDeleteEquipmentPage4
X062		add equipment		buttonAddEquipmentPage4
X063		Distribution list		stInfo1Page5
X064		delete distribution		buttonDeleteDistributionPage5
X065		add distribution		buttonAddDistributionPage5
X066		Solar thermal energy		stInfo2Page6
X067		Roof		stInfo3Page6
X068		Ground		stInfo4Page6
X069		Biomass		stInfo5Page6
X070		Availability of biomass \nfrom the processes		stInfo6Page6
X071		Availability of biomass \nfrom the region		stInfo7Page6
X072		Are you interested in the use of renewable energy?		st1Page6
X073		possibility of saving fuel cost		st2Page6
X074		contribution to a more ecologic supply		st3Page6
X075		using solar energy helps for a better marketing of your products		st4Page6
X076		other		st5Page6
X077		available area	m²
X078		positioning of the area	inclination of degrees
X079		positioning of the area	orientation to south
X080		shading problems?
X081		distance to the technical room or process	m
X082		period of year the biomass is available	dd/mm-dd/mm
X083		period of year the biomass is available	dd/mm-dd/mm
X084		Building list		stInfo1Page7
X085		Building (or part of building)		stInfo2Page7
X086		delete building		buttonDeleteBuildingPage7
X087		add building		buttonAddBuildingPage7
X088		stInfo2Page8		stInfo2Page8
X089		stInfo3Page8		stInfo3Page8
X090		public funding for energy saving measures		stInfo4_1Page8
X091		Type (credit, subvention)		stInfo4_2Page8
X092		Operation and maintenance costs		stInfo5Page8
X093		General maintenance		stInfo6Page8
X094		Buildings		stInfo7Page8
X095		Machines and equipment for processes		stInfo8Page8
X096		Generation and distribution of heat and cold		stInfo9Page8
X097		Total		stInfo10Page8
X098		Total costs \n€/year		stInfo11Page8
X099		Own personal \n€/year		stInfo12Page8
X100		External personel \n€/year		stInfo13Page8
X101		Spare parts and \nfungible assets \n€/year		stInfo14Page8
X102		Externalisation of energetic services		stInfo15Page8
X103		&New Project		menu
X104		&Import Project		menu
X105		&Export Project		menu
X106		Import &Questionnaire		menu
X107		E&xit		menu
X108		DB&Benchmark		menu
X109		DB&NaceCode		menu
X110		DB&UnitOperation		menu
X111		DB&CHP		menu
X112		DB&HeatPump		menu
X113		DBFlui&d		menu
X114		DBFue&l		menu
X115		DBB&oiler		menu
X116		DB&SolarEquip		menu
X117		DB&Chiller		menu
X118		&Edit databases		menu
X119		&Preferences		menu
X120		fully interactive		menu
X121		semi-automatic		menu
X122		automatic		menu
X123		User interaction &level		menu
X124		&Create report		menu
X125		&Report preview		menu
X126		&Documentation		menu
X127		&About		menu
X128		&File		menu
X129		&Edit		menu
X130		&Settings		menu
X131		&Results		menu
X132		&Help		menu
X133		Consistency Check		treenode
X134		Basic check		treenode
X135		Estimate missing data		treenode
X136		Energy statistics		treenode
X137		Primary energy		treenode
X138		Final energy by fuels		treenode
X139		Final energy by equipment		treenode
X140		Process heat		treenode
X141		Energy intensity		treenode
X142		Production of CO2		treenode
X143		Benchmark check		treenode
X144		Select appropriate benchmarks		treenode
X145		Alternative proposals		treenode
X146		Design		treenode
X147		Report		treenode
X148		Report Page 1		treenode
X149		Report Page 2		treenode
X150		Print Report		treenode

## Menu
	Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Questionnaire

Language:	EN

## Q1 GeneralData
			Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				General data	1					yes/no	Nace codes	Nace code name	Nace Subcode	Nace Subcode Name
General data			notes	Statistical and economical data			notes					Yes	A 22	Food Industry	A 22.1	Beer
name of the company	OO_TestProject		legal name of the company	number of employees	-	435					No	B 23	Paper Industry	A 22.2	Wine
city	Graz1		city where production is located	annual turnover	M€/year	33,23					C 24		A 22.3	Softdrinks
name of contact person	Einstein Contact Persion 1			annual production cost	M€/year	12,10	Specify total factor inputs for production					C 25		A 22.4	Dairy
position of contact person in the company	Contact Person for Einstein Parsing			base year for economic data	-	2001	Specify the reference year for economic parameters					C 26		A 22.5
address	Einsteinstreet 24, 2934 Einstein			growth rate of the production volume foreseen	%/year	1,1	growth rate of the production volume foreseen for the next 5 years					DJ 27
Telephone No	43591 / 4181 9591 4 00			Is the company independent ?	yes/no	yes					DJ 25
Fax No	43591 / 4181 9591 4 01			yearly O&M heat & cold supply system	€/year	2,3
E-mail	Einstein@einsteintestmail.com			yearly O&M electrical equipment	€/year	7,4
description of the industry	Einstein energy audit industry			Period of operation			notes
branch	energy audit			total hours of operation per working day	h/day	16	e.g. 3x6 hours = 3 turns of 6 hours each
NACE code branch	DA15			number of shifts	-	2	0
sub-branch	industry			days of production / operation per year	days	312		Specify holiday periods and periods of stops for maintenance
NACE code sub-branch	11			principal period of holidays or stops for maintenance	dd/mm-dd/mm	dd/mm-dd/mm	dd/mm > cell g15

Information on products		Product 1	Product 2	Product 3	Other products		notes
type of product	name	prodname1	prodname2	prodname3	prodnameOther
product's code	-	DA010	DA030	ZZ999	DA010		see list of product codes
quantity of product(s) per year	product-units/year	455	453	342	345		Specify the measuring unit and the quantyty (e.g. liters of milk (crude or processed) / year, hl of beer/year...
measurement unit for product quantity	-	unit1	unit2	unit3
annual turnover per product	M€/year	434	435	342

00000000DA15_0000000000000000000000
0000000000000000000000000000000
00000000DA15_0000000000000000000000

## Q2 EnergyConsumption
			Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Energy consumption	2					Unit for fuels
Energy consumption		1	2	3	4	5	6					kg/a
Fuels used	-	Natural gas	Liquid petroleum gas	Heavy fuel oil	Butane	Propane	Gas oil					Nm³/a
annual consumption	unit	kg	kg	kg	ton	lb	kg	If possible, provide the monthly data in separate sheet and/or the fuel bills. Specify the energy equivalent in base of LCV (lower calorific value)					Tonnes/a
	units/year	134	135	136	137	138	139
	MWh / year (LCV)	14400	14410	14420	14430	14440	14450
fuel price	€/kWh LCV	1,15	1,25	1,35	1,45	1,55	1,65	Specify expenditures without VAT
annual energy cost	€/year	1,16	1,26	1,36	1,46	1,56	1,66	Total cost

Electricity cosumption and cost
Tariff		Peak	Standard	Valley	TOTAL	self-generation (co-generation)	sales to grid (co-generation)	If possible, provide the monthly data in separate sheet and/or the electricity bills
annual consumption	MWh / year	1	2	3	4	5	6	Specify the consumption in the different periods of generation (co-generation), provide the total electrical production and the sales to grid
contracted power	kW	7	8	9	10
tariff type / class	-	11	12	13	14		15	Specify expenditures without VAT
tariff on installed power	€/kWmonth	16	17	18	19		20	Fixed cost of supply
tariff on consumption	€/MWh	21	22	23	24		25	Cost of consumption excluding fixed costs
annual electricity cost	€/year	26	27	28	29		30	Total cost / total sales (incl. bonus)
Electric consumption according type of use		Electricity for thermal uses			Electricity for non-thermal uses			If there are other uses, specify them in a separate sheet
		Refrigeration	Air Conditioning	Other uses	Motors and machines	Electro-chemics	Lightning
	MWh / year	31	32	33	34	35	36

Energy consumption by product/service		Product 1	Product 2	Product 3	Other products	Auxiliary services		%	If possible, specify the energy consumption of the different production lines
Total fuel consumption	MWh / year (LCV)	37	38	39	40	41	Percentage of energy cost on overall production cost:	66
Electricity consumption	MWh / year	42	43	44	45	46		77

## Q3_ Processes
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Process data					3
Process data		1			2			3			Give an organizational diagram of the production process (e.g. the flux of crude milk in chease production or the the flux of car chasis in the automobile industry)
process short name	-	prosName1			prosName2			prosName3
description of the process	-	proDesc1			proDesc2			proDesc3			Give a brief description of the process or the unitary operation
process type	continuous / batch	continuous			batch			batch			Specify the unit operation type ( EINSTEIN classification)
unit operation type	-	Plating chromium			Ageing			Cooling of production halls			Specify if it is a continuous or a batch process
product or process medium (water, oil, air, ...)	-	Water			Steam			Air			The medium that is in direct contact with the treated product, e.g. air for drying, lye or water for washing, etc...
CIRCULATION HEAT
typical (final) temperature of the / process medium during operation	°C	1,23			1,24			1,25			Give the temperature of the process medium and not that of the heat supplying medium.
inlet temperature of the process medium / (before heat recovery)	°C	1,25			1,27			1,28			Inlet temperature of the process medium before heat recovery
inlet temperature of the process medium / (after heat recovery)	°C	1,29			1,3			1,31			Inlet temperature (towards the system) of the process medium after the heat recovery
flow rate of the process medium (specify units)	kg/h [m3/h]	1,32			1,33			1,34			Nominal flow rate at typical process operation conditions
inflow of process medium per operation cycle	m³	1,35			1,36			1,37			Continuous process: Fluid flow rate times hours of circulation. Batch process with fluid renewal: volume times No. of cycles.
STARTUP HEAT
volume of the process medium within the equipment or storage	m³	1,38			1,39			1,4			volumen of process medium that has to be heated-up or cooled down at start-up (excluding the inflowing process medium)
start-up temperature of process medium (after breaks)	ºC	1,5			1,6			1,7			Temperature of the process equipment before heating up when process start-up begins
MAINTAINANCE HEAT
Power requirement of the process in operation	kW	1,8			1,9			2			Power requierment during operation at steady state (thermal losses, evaporation, endogenous chemical recations; without heating of circulating fluid)

Waste heat (available for heat recovery)											notes
can heat be recovered from the outflowing medium ?	(yes/no)	yes			no			yes			If NO, specify why: e.g. contamination with substances which can affect the heat exchanger...
medium of outgoing waste heat flows	-	Air			Water			Steam			Specify media of waste heat flows (up to 3)
temperature of outgoing (waste) heat flows	°C	2,1			2,2			2,3			Temperature of the outgoing waste heat flow (e.g. water or hot humid air at the outlet of a drying process)
specific enthalpy of outgoing (waste) heat flows	kJ/kg	2,4			2,5			2,6			Enthalpy of the outgoing waste heat flow (e.g. water or hot humid air at the outlet of a drying process)
humidity ratio of outgoing (waste) heat flows	kg/kg	2,7			2,8			2,9			Specify humidity ratio in kg water per kg dry air/gas
final temperature of outgoing (waste) heat flows	ºC	3			3,1			3,2			Minimum temperature to which the waste heat flow can be cooled. If there is no limit specify 0
flow rate of outflowing process medium (specify units)	kg/h [m3/h]	3,3			3,4			3,5			Can be different from the incoming flow if e.g. there is evaporation or some chemical reaction.
outflow of process medium per operation cycle	m³	3,6			3,7			3,8
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org								Process data	3b
Schedule											For batch processes: specify the total duration of process, e.g. 3 batches/day x 2 hrs/batch = 6 hrs. If possible, specify daily program.
hours of process operation per day	h/day	1			2			3
number of operation cycles per day	-	2			3			1
duration of one operation cycle	h	3			1			2
days of process operation per year	days / year	34			35			36

Data of existing Heat/Cold supply to the process											notes
Medium supplying heat or cold to the process (water, steam, air)	-	Water			Air			Steam			Medium supplying heat or cold to the process (up to 3)
heat or cold supply to the process from distribution line / branch No.	-	branchname4			branchname2			branchname1			Specify the distribution(supply) line of heat/cold feeding the process, using the nomenclature of the hydraulic scheme
temperature of the incoming medium supplying heat or cold to the process/heat exchanger	°C	212			313			414			Temperature of the supplying medium at heat exchanger's inlet
flow rate of the heat supply medium (close to process, specify units)	kg/h [m3/h]	2133			3241			4125			Mass flow of the heat/cold supplyind medium
Total yearly process heat consumption	MWh / year	21345			31113			45423			Total net useful process heat consumed for the process

## Q3A
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org					Process data	3A
				Annex: time schedules
schedule details		1			2			3
process short name		TestProcess1			TestProcess2			TestProcess3

weekly operation schedule
	Monday		X			X			X		check (X) the days the process is operating
	Tuesday		X			X			X
	Wednesday		X			X			X
	Thursday		X			X			X
	Friday		X			X			X
	Saturday
	Sunday

operation schedule of a typical day		start time		end time	start time		end time	start time		end time
1	hh:mm	00:00		23:00	01:00		22:00	02:00		21:00	Indicate the start and stop time for each process operation cycle during a typical day.
2		00:01		23:01	01:01		22:01	02:01		21:01
3		00:02		23:02	01:02		22:02	02:02		21:02
4		00:03		23:03	01:03		22:03	02:03		21:03
5		00:04		23:04	01:04		22:04	02:04		21:04
6		00:05		23:05	01:05		22:05	02:05		21:05
7		00:06		23:06	01:06		22:06	02:06		21:06
8		00:07		23:07	01:07		22:07	02:07		21:07
9		00:08		23:08	01:08		22:08	02:08		21:08
10		00:09		23:09	01:09		22:09	02:09		21:09
Tolerance for desviation from typical time schedule	min	34			35			36			If the time schedule is not fix, indicate the possible desviations from the typical one
Time schedule correlated with that of process	-	prosName2			prosName1			prosName1			If the operation cycles of two processes are correlated, indicate the name of the correlated process

details of a process operation cycle
duration of start-up / filling phase	min	45			46			47			Indicate the start-up time for an operation cycle to reach the process temperature, or time required for filling of reservoirs
duration of operation after start-up	min	48			49			50			Duration of a process operation cycle when process temperature is reached
duration of cool-down / emptying phase	min	51			52			53			Duration of the cool-down period or time required for emptying of reservoirs

## Q4H_HeatGeneration
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Generation of heat and cold	4
Equipment for heat generation		1	2	3	4	5	General notes: 1) If there are equipment units of the same type and they supply heat or cold to the same distribution line, they should be entered as a single column. The data for single unit is entered, and the number of the units of the same type is ind
Decriptive data
Short name of equipment	-	testquip1	testquip2	testquip3	testquip4	testquip5	Give some brief name of the equipments to identify them in the reports
Manufacturer	-	testmanufact1	testmanufact2	testmanufact3	testmanufact4	testmanufact5	Attach the technical data if available
Year of manufacturing or/and installation	-	2001	2002	2003	2004	2005	Year of manufacturing or installation
Model	-	model1	model2	model3	model4	model5	Model according manufacturer nomenclature
Type of equipment	-	compression heat pump	thermal heat pump	steam boiler	condensing boiler	hot water boiler	e.g. boiler / burner / chiller / compressor / CHP motor
Number of units of the same type	-	50	51	52	53	54	Specify how many units of this type exist

Technical data
Nominal power (heat or cold, output)	kW	80	81	82	83	84	Power at manufacturer nominal conditions
Fuel type	-	Propane	Heavy fuel oil	Liquid petroleum gas	Natural gas	Gas oil	Select fuel type from predefined list
Fuel consumption (nominal)	-	85	86	87	88	89	Specify the units below
Units (fuel consumption)	-	l	m3	kg	ton	l	Specify units for the nominal fuel consumption, e.g. m3/h, l/h, kg/h
Electrical power input (nominal)	kW	90,1	90,2	90,3	90,4	90,5	Electrical power, incl. auxiliary components, such as water pumps, control,...
Mean overall thermal conversion efficiency	-	100.111	200,22	300,33	400,44	500,56	Specify the efficiencyof boiler or EER(COP) for cold generation
Mean utilisation factor (full capacity = 100%)	-	23,12	24,12	25,12	26,12	27,12	Specify the mean supplied power of the boiler/cooler/etc... with respect to its nominal power
Boilers only
Temperature of exhaust gas at standard operation conditions	ºC	500	600	700	800	900	Only for boilers and CHP
Excess air ratio	-	5000	6000	7000	8000	9000	Only for boilers and CHP
CHP Only
Electricity production	kW	1234	2345	3456	4567	5678	Only for CHP
Electrical conversion efficiency	-	0,21	0,21	0,21	0,21	0,21	Only for CHP

		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Generation of heat and cold	4b
Heat source / sink
Heat or cold supplyed to the distribution line / branch (piping or duct) no.	-	branchname1	branchname2	branchname3	branchname4	branchname5	Specify the tube for supply to the equipment, using the nomenclature of the block “distribution system”
Heat pumps only
Low temperature heat source	-	lowtemptxt1	lowtemptxt2	lowtemptxt3	lowtemptxt4	lowtemptxt5	If waste heat is used, indicate the process or equipment from which waste heat originates
Temperature of heat source	ºC	20,3	342,1	555,23	653,1	784,1	Temperature of the medium entering the evaporator
Refrigerant	-	R134a	R134a	R717	R404a	R22	Refrigerant or working fluid
Thermal heat pumps only
Thermal power input	kW	34	35	36	37	38	Power applied to the generator of a thermal heat pump
Driving temperature	ºC	39	40	41	42	43	Temperature of heat supply fluid entering the generator
Origin of high temperature heat source	-	origin1	origin2	origin3	origin4	orign5	Indicate if the circuit of the heat supply to generator is closed or opened (waste heat released to ambient)

Schedule
Hours of operation per day	h/day	8	9	10	11	12	Specify representative mean values
Days of operation per year	days / year	255	256	257	258	259	Specify representative mean values

## Q4C_ColdGeneration
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Generation of heat and cold	4
Equipment for cold generation		1	2	3	4	5	General notes: 1) If there are equipment units of the same type and they supply heat or cold to the same distribution line, they should be entered as a single column. The data for single unit is entered, and the number of the units of the same type is ind
Decriptive data
Short name of equipment	-	testquip6cold	testquip7cold	testquip8cold	testquip9cold	testquip10cold	Give some brief name of the equipments to identify them in the reports
Manufacturer	-	testmanufact6	testmanufact7	testmanufact8	testmanufact9	testmanufact10	Attach the technical data if available
Year of manufacturing or/and installation	-	2001	2002	2003	2004	2005	Year of manufacturing or installation
Model	-	model1	model2	model3	model4	model5	Model according manufacturer nomenclature
Type of equipment	-	compression heat pump	thermal heat pump	steam boiler	condensing boiler	hot water boiler	e.g. boiler / burner / chiller / compressor / CHP motor
Number of units of the same type	-	50	51	52	53	54	Specify how many units of this type exist

Technical data
Nominal power (heat or cold, output)	kW	80	81	82	83	84	Power at manufacturer nominal conditions
Refrigerant	-	R134a	R717	R404a	R22	R717	Refrigerant or working fluid
Electrical power input (nominal)	kW	90,1	90,2	90,3	90,4	90,5	Electrical power, incl. auxiliary components, such as water pumps, control,...
Mean overall thermal conversion efficiency	-	100.111	200,22	300,33	400,44	500,56	Specify the efficiencyof boiler or EER(COP) for cold generation
Mean utilisation factor (full capacity = 100%)	-	23,12	24,12	25,12	26,12	27,12	Specify the mean supplied power of the boiler/cooler/etc... with respect to its nominal power
Thermal chillers only
Fuel consumption (nominal)	-	85	86	87	88	89	Specify the units below
Units (fuel consumption)	-	l	m3	kg	ton	l	Units (fuel consumption)

		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Generation of heat and cold	4b
Heat source / sink
Heat or cold supplyed to the distribution line / branch (piping or duct) no.	-	branchname1	branchname2	branchname3	branchname4	branchname5	Specify the tube for supply to the equipment, using the nomenclature of the block “distribution system”

Destination of waste heat	-	lowtemptxt1	lowtemptxt2	lowtemptxt3	lowtemptxt4	lowtemptxt5	If applies, specify heat exchanger where waste heat is used
Temperature of re-cooling	ºC	333	444	555	666	777	Outlet temperature of cooling water or hot air stream
Thermal power input / (thermal chillers only)	kW	34	35	36	37	38	Power applied to the generator of a thermal chiller
Driving temperature / (thermal chillers only)	ºC	39	40	41	42	43	Temperature of heat supply fluid entering the generator
Origin of high temperature heat source / (thermal chillers only)	-	origin1	origin2	origin3	origin4	orign5	Indicate if the circuit of the heat supply to generator is closed or opened (waste heat released to ambient)

Schedule
Hours of operation per day	h/day	8	9	10	11	12	Specify representative mean values
Days of operation per year	days / year	255	256	257	258	259	Specify representative mean values

## Q5_Distribution
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Distribution of heat/cold	5
Distribution of heat/cold		1	2	3	4	5	Attach a simplified scheme of the hydraulic system of processing and distribution of heat/cold
name of the branch / distribution system	-	branchname1	branchname2	branchname3	branchname4	branchname5	Give some brief name or number of the distribution tube consistent with the hydraulic scheme
heat or cold distribution medium	-	Water	Air	Water	Air	Water	e.g air for drying process, vapour, hot water, refrigerant,....
nominal production or circulation rate / (specify units)	m³/h / kg/h	19999	29999	39999	49999	59999	0
outlet temperature (to distribution)	°C	111	222	333	444	555	Temperature of supply medium from equipment
return temperature (from distribution)	°C	666	777	888	999	123	Temperature of return of the supply medium from distribution (return temperature of condensate in a vepour system)
Rate of recirculation	%	23	24	25	26	27	Specify the rate of recirculation of the heat/cold supply medium (1.0 = totally closed circuit)
feed-up in open circuit	°C	133	134	135	136	137	Temperature of medium of distribution of heat/cold entering in open circuit (e.g. temperature of water entering from network....)
pressure of heat or cold distribution medium	bar	981	982	983	984	985	Working pressure for the heat/cold supply medium
total length of distribution piping or ducts (one way)	m	1234	2345	3456	4567	5678	Only distance one way
total coefficient of heat losses for piping or ducts	kW/K	5432	6543	7654	8765	9876	For the whole duct: go and return
mean pipe diameter	mm	100000	200000	300000	400000	500000	0
insulation thickness	mm	600000	700000	800000	900000	950000	0

Storage
number of the storage units	-	1	2	3	4	5	Specify the number of storage units of the same type
volume of the storage	m³	1,1	1,2	1,3	1,4	1,5	Volume of the storage medium of a single single storage unit
type of heat storage	-	Latent	Latent	Latent	Latent	Latent	Select from predefined list
pressure of heat storage medium	bar	1111	2222	3333	4444	5555	Pressure of the process medium entering the storage unit if different from storage medium
maximum temperature of the storage	°C	123,1	124,2	125,3	126,4	127,5	The maximum temperature to which storage unit can be operated

## Q6_HeatRecovery
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Heat recovery	6
Heat exchanger No.		1	2	3	4	5
Short name of heat exchanger	-	Heatexc1	Heatexc2	Heatexc3	Heatexc4	Heatexc5	Give a short name of the equipment
Heat exchanger type	-	plate HX (liquid-liquid)	plate HX (air-air)	shell and tube HX (liquid-liquid)	plate HX (air-air)	shell and tube HX (liquid-liquid)	Specify the type of heat exchanger, e.g. shell-and-tube, plate, fin-and-tube, ...
Heat transfer rate	kW	1,23	1,24	1,24	1,24	1,24	Heat transfer rate for the specific working conditions
Log. Mean Temperature Diff. (LMTD)	K	301,1	302,1	303,1	304,1	305,1	Between the fluids in the heat exchanger
Total heat transfered	MWh	1001	1002	1003	1004	1005	Heat transferred for year
Heat source (process [+outflow no.], equipment, ...)	-	heatmedium1	heatmedium2	heatmedium3	heatmedium4	heatmedium5	Indicate: Process, Equipment, Distribution line, Compressor, Electric motor, together with its number
Inlet temperature (source)	ºC	111	222	333	444	555	Inlet temperature of the hot fluid
Inlet specific enthalpy (source)	kJ/kg	666	777	888	999	123	Inlet enthalpy of the hot fluid
Outlet temperature (source)	ºC	23	24	25	26	27	Outlet temperature of hot fluid
Outlet specific enthalpy (source)	kJ/kg	133	134	135	136	137	Outlet enthalpy of the hot fluid
Heat sink (process, pipe/duct)	-	testquip6	testquip7	testquip8	testquip9	testquip10	Indicate: Process or Distribution line and number. If heat exchange is via storage, it should be defined in the distribution line
Inlet temperature (sink)	ºC	333	444	555	666	777	Inlet temperature of the cold fluid
Outlet temperature (sink)	ºC	34	35	36	37	38	Inlet enthalpy of the cold fluid

		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Heat recovery	6b
waste heat from electrical equipment		1	2	3	4	5
Short name of electrical equipment	-	elecquip1	elecquip2	elecquip3	elecquip4	elecquip5	Give a short name of the equipment
Equipment type	-	ElectricMotor	Compressor	Other	Other	Other	specify type of equipment, e.g. compressor, electric motor,...
Waste heat type	-	CoolingWater	intercooler	cooling air	CoolingWater	CoolingWater	specify type of waste heat (e.g. Recooling of compressed air, cooling water of motor/compressor, ...)
Available waste heat	kW	13	14	15	16	17	estimated quantity
Medium	-	Water	Water	Water	Water	Water	Waste heat carrying medium (fluid)
Flow rate	kg/h	111	222	333	444	555	Specify the flow rate of the waste heat carrying medium
waste heat temperature	ºC	666	777	888	999	123	Specify the temperature of the waste heat medium at the outlet
present use of waste heat	yes/no	yes	no	no	yes	yes	If yes, specify distribution pipe / duct or heat exchanger wwhere waste heat is used at present

Schedule							Indicate the operation schedule of the waste heat producing equipment.
hours of operation per day	h/day	19	20	21	22	23
number of operation cycles per day	-	18	10	7	5	4
duration of one operation cycle	h	1	2	3	4	5
days of process operation per year	days / year	225	226	227	228	229

## Q7_ Renewables
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org			Renewable energy	7
Main motivation for renewable energy use				possibility of saving fuel cost		yes/no	no
Are you interested in the use of renweable energy? (solar thermal/biomass)	yes/no	yes	contribution to a more ecologic energy supply			yes/no	yes
			using solar energy helps for a better marketing of your products			yes/no	yes
			others:	Motivation

Solar thermal energy
Latitude of the site	°	3,23	Insert the latitude in degree only. E.g. Rome's latitude is 41,90°
Yearly radiation on horizontal surface (total)	kWh/m².a	2001,2	Yearly global (direct and diffuse) solar radiation on a horizontal surface
		1	2	3	4
Short name of the available area	-	availarea1	availarea2	availarea3	availarea4	Define a short name for each surface area available for installation in order to clearly identify them
Availabe roof, ground, wall area	m²	1540	1541	1542	1543	If there are different surfaces available, give the measure of each surface area
Positioning of the surface	Inclination (°)	12	23	34	45	Give the surface inclination with respect to the horizontal ( i.e. tilt angle, in degrees only)
	Orientation	S	SW	SE	N
Shading problems?	-	Yes,partially shaded	No	Yes,fully shaded	No	Consider shadows due to buildings, trees, etc.; all over the year, in winter time or in early morning/late afternoon
Distance between the roof, ground, wall area(s) and the technical room or process	m	3432,93	4339,21	5920	6292,1	Estimate the piping lenght (single way) from the roof, ground,wall area to the technical room or to the process
Roofs only:						Specify the type of roof, e.g. composite sandwich panels, etc...
Type of roof	-	Corrugated metal roof	Composite sandwich panels	Concrete roof	Tiled roof
Static load capacity of the roof(s)	kg/m²	11111	22222	33333	44444	The additional weight of a solar collector field is about 25-30 kg/m²
Is a plant/drawing of building(s) and surface(s) available?	yes/no	yes	no	no	yes	Enclose the plant of the building(s) and/or a drawing of the surface(s)

Biomass
Availability of biomass and biogenic waste		from own processes	from the region
Type of biomass available	-	availproc	availreg		-
Period of year the biomass is available (months)	startdate	01. Mai	20. Okt	Specify if the availability is continuous or during some specific season of the year
	enddate	12. Apr	20. Nov
Yearly quantity of biomass	t	123	456
LCV biomass	kWh/kg	789	987
Humidity	%	23	32
Unit price of biomass	€/t	555	556	Specify the cost of the biomass. For residual biomass from own processes specify opportunity cost (possible sales) or negative cost (e.g.avoidance of waste treatment)

Space availability to stock biomass?	m3	1234		Specifythe volume

## Q8 Buildings
		Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Buildings	8
Building (or part of building)		1	2	3	4	5	Attach a brief description/plan of the building
Building short name		buildingname1	buildingname2	buildingname3	buildingname4	buildingname3	Give some brief name of the buildings to identify them in the reports
Constructed surface	m2	2222	3333	4444	5555	4444	Surface limited by building's perimeter multiplied by number of floors
Useful surface	m2	1234	2345	3456	4567	3456	Total useful surface of building (excluding walls)
Use of the building	-	use1	use2	use3	use4	use3	Specify use, e.g. offices, production, storage,...
Schedules of occupation
Hours of occupation	h/day	8700	8701	8702	8703	8702	Occupational period of the building
Days of use per year	days/year	225	226	227	228	227
Holidays period	startdate	21. Aug	30. Aug	29. Sep	01. Okt	29. Sep	Period of year that the building is not used
	enddate	30. Sep	12. Dez	23. Dez	24. Dez	23. Dez
Global data on energy demand
Maximum heating power	kW	1	2	3	4	3	Maximum heating power (without including the security coefficient of the equipment)
Maximum cooling power	kW	6	7	8	9	8
Annual heating demand	MWh / year	11000	12000	13000	14000	13000	Thermal demand (useful heat and cold). Indicate MONTHLY data in a separate table (if available)
Annual demand of air conditioning	MWh / year	16000	17000	18000	19000	18000
Daily consumption of DHW	l/day	21	22	23	24	23	Only consumption of hot water that is not included yet in “Processes”
Required temperature for heating system	ºC	26	27	28	29	28	Specify the required forward temperature of the heating medium (hot water, air) to the heating system (radiators, radiant floor, fan coils, etc.)
Required temperature for air conditioning system	ºC	31	32	33	34	33	Specify the required forward temperature of the cooling medium (cold water, air) to the air conditioning system (fan coils, radiant ceiling, etc.)
Heating period	startdate	21. Aug	22. Aug	23. Aug	24. Aug	23. Aug	Indicate period, e.g. October - February
	enddate	12. Sep	13. Sep	14. Sep	15. Sep	14. Sep
Air conditioning period	startdate	25. Aug	26. Aug	27. Aug	28. Aug	27. Aug
	enddate	16. Sep	17. Sep	18. Sep	19. Sep	18. Sep

## Q9 Economics
			Expert system for an intelligent supply / of thermal energy in industry / www.iee-einstein.org				Economic parameters	9
Economic parameters used in the economic analysis and the comparative analysis of possible alternatives
General inflation rate	%	1,1	Specify the rate of prices variation estimated for the useful life of the installations (e.g. in the next 15-20 years)
Rate of increment of energy prices	%	1,2
Nominal rate of interest for external financing of installations	%	1,3
Percentage of external financing for installations	%	1,4	Percentage of the external financing for the inversions
Company specific discount rate	%	1,5
Time for economic amortisation of installations	years	1,6

Operation and maintenance costs
		Total cost	Utilities and operating materials costs	Labour costs	External costs	Regulatory compliance, insurance and future liability costs
		€/year	€/year	€/year	€/year	€/year
General maintenance		1	2,00	3,00	4,00	5,00
Buildings		6	7,00	8,00	9,00	10,00
Machines and equipment for processes		11	12,00	13,00	14,00	15,00
Generation and distribution of heat and cold		16	17,00	18,00	19,00	20,00
Total		21	22,00	23,00	24,00	25,00

Externalisation of energetic services
Is there any energy management system implemented?			yes/no	yes
Are some of the energy services externalized ?			yes/no	no

## 'file:///F:/Projects/einstein/questionnaire/TestQuestionnaires/EINSTEIN%20Parameters%20and%20Questionnaire_emptyReference.xls'#ParameterList
Building (or part of building)					Attach a brief description/plan of the building

Building short name					Give some brief name of the buildings to identify them in the reports
Constructed surface					Surface limited by building's perimeter multiplied by number of floors					m2
Useful surface					Total useful surface of building (excluding walls)					m2
Use of the building					Specify use, e.g. offices, production, storage,...					-
Global data on energy demand
Maximum heating power					Maximum heating power (without including the security coefficient of the equipment)					kW
Maximum cooling power					kW
Annual heating demand					Thermal demand (useful heat and cold). Indicate MONTHLY data in a separate table (if available)					MWh / year
Annual demand of air conditioning					MWh / year
Required temperature for heating system					Specify the required forward temperature of the heating medium (hot water, air) to the heating system (radiators, radiant floor, fan coils, etc.)					ºC
Required temperature for air conditioning system					Specify the required forward temperature of the cooling medium (cold water, air) to the air conditioning system (fan coils, radiant ceiling, etc.)					ºC
Daily consumption of DHW					Only consumption of hot water that is not included yet in “Processes”					l/day
Schedules of occupation
Hours of occupation					Occupational period of the building					h/day
Days of use per year					days/year
Holidays period					Period of year that the building is not used
Heating period					Indicate period, e.g. October - February
Air conditioning period

Main motivation for renewable energy use
Are you interested in the use of renweable energy? (solar thermal/biomass)					yes/no

possibility of saving fuel cost					yes/no

Solar thermal energy
Latitude of the site					°

Short name of the available area					-
Availabe roof, ground, wall area					m²
Positioning of the surface
				Inclination (°)
				Orientation

Shading problems?					-
Distance between the roof, ground, wall area(s) and the technical room or process					m
Roofs only:
Type of roof					-
Static load capacity of the roof(s)					kg/m²
Is a plant/drawing of building(s) and surface(s) available?					yes/no
Yearly radiation on horizontal surface (total)					kWh/m².a

Biomass
Availability of biomass and biogenic waste

Type of biomass available					-
Period of year the biomass is available (months)					Specify if the availability is continuous or during some specific season of the year
Unit price of biomass					Specify the cost of the biomass. For residual biomass from own processes specify opportunity cost (possible sales) or negative cost (e.g.avoidance of waste treatment)					€/t

Yearly quantity of biomass					t
Space availability to stock biomass?					Specifythe volume					m3
LCV biomass					kWh/kg
Humidity					%