## Title
				EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI

Expert-system for an INtelligent Supply of Thermal Energy in Industry

				Expert-system for an INtelligent Supply of Thermal Energy in Industry	Expert-system for an INtelligent Supply of Thermal Energy in Industry

				Audit Report					Audit Report	Audit Report
				for the company					for the company	for the company
enerCHEESEexperts SL, Barcelona, Spain

				Supported by Intelligent Energy Europe (EIE)					Supported by Intelligent Energy Europe (EIE)	Supported by Intelligent Energy Europe (EIE)
				(Contract no: EIE/07/210/S12.466708)					(Contract no: EIE/07/210/S12.466708)	(Contract no: EIE/07/210/S12.466708)

## Index
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	Index

	Summary					Summary	Summary

1	Data used for the Analysis					Data used for the Analysis	Data used for the Analysis

	1.1	Data Supplied by the Company					Data Supplied by the Company	Data Supplied by the Company

	1.2	Estimations and Hypothesis made by the Auditor					Estimations and Hypothesis made by the Auditor	Estimations and Hypothesis made by the Auditor

2	Energy consumption in the present state					Energy consumption in the present state	Energy consumption in the present state

	2.1	Fuel and Electricity Consumption					Fuel and Electricity Consumption	Fuel and Electricity Consumption

	2.2	Heat and Cold Supply					Heat and Cold Supply	Heat and Cold Supply

	2.3	Process Heat and Cold Demand					Process Heat and Cold Demand	Process Heat and Cold Demand

	2.4	Comparison with Benchmark Reference Data					Comparison with Benchmark Reference Data	Comparison with Benchmark Reference Data

3	Description of Alternatives Proposed					Description of Alternatives Proposed	Description of Alternatives Proposed

		Overview Table					Overview Table	Overview Table

	3.1	<Alternative 1>

	3.2	<Alternative 2>

	3.3	<Alternative 3>

	3.4	<Alternative 4>

	3.5	<Alternative 5>

4	Comparative Study of the Proposed Alternatives					Comparative Study of the Proposed Alternatives	Comparative Study of the Proposed Alternatives

	4.1	Primary Energy Consumption

	4.2	Useful Process Heat (UPH) and Useful Supply Heat (USH)

	4.3	Environmental Impact

	4.4	Investment cost

	4.5	Total Annual Cost

	4.6	Additional Cost per Saved Primary Energy

	4.7	Internal Rate of Return (IRR) and Net Present Value (NPV)

5	Final solution proposed					Final solution proposed

	5.1	Detailed description					Detailed description

	5.2	Energetic performance and environmental analysis					Energetic performance and environmental analysis

	5.3	Economic and financial analyisis					Economic and financial analyisis

	5.4	Next steps and requirements for further analysis					Next steps and requirements for further analysis

A	Annexes					Annexes

	Annex 1: Conversion Factors used in the Analysis					Annex 1: Conversion Factors used in the Analysis

	Annex 2: Questionnaire with Industry Data					Annex 2: Questionnaire with Industry Data

## Summary
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	Summary					Summary

xxx to be summarised xxx
text text text text text
xxx to be summarised xxx
xxx to be summarised xxx
xxx to be summarised xxx
xxx to be summarised xxx
xxx to be summarised xxx
xxx to be summarised xxx
xxx to be summarised xxx

some title

a					b			c			d
				[€]			[Mwh]			[€/MWh]

## Chap1
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Chapter 1		Data used for the Analysis					Chapter 1

Data used for the Analysis

1.1	Data supplied by the company (basic questionnaire)					Data supplied by the company (basic questionnaire)	Data supplied by the company (basic questionnaire)

	1.1.1	Basic questionnaire					Basic questionnaire	Basic questionnaire
	1.1.2	Detailed annexes to the questionnaire					Detailed annexes to the questionnaire	Detailed annexes to the questionnaire
	1.1.3	Other information supplied					Other information supplied	Other information supplied

1.2	Estimations and hypothesis made by the auditor					Estimations and hypothesis made by the auditor	Estimations and hypothesis made by the auditor

## 11
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
1.1	Data Supplied by the Company

In the following the data submitted by the company are listed.					In the following the data submitted by the company are listed.	In the following the data submitted by the company are listed.

Basic questionnaire

The base data used for the analysis are summarised in the basic questionnaire (See annex)					The base data used for the analysis are summarised in the basic questionnaire (See annex)	The base data used for the analysis are summarised in the basic questionnaire (See annex)

Detailed annexes to the questionnaire

The following detailed information has been specified in detail-annexes to the basic questionnaire:					The following detailed information has been specified in detail-annexes to the basic questionnaire:	The following detailed information has been specified in detail-annexes to the basic questionnaire:

Detail annexes submitted					Detail annexes submitted	Detail annexes submitted

Annex			Subsystem			Description					Annex	Annex
				Subsystem	Subsystem
				Description	Description

Other information supplied					Other information supplied	Other information supplied
The following additional information has been supplied by the company:					The following additional information has been supplied by the company:	The following additional information has been supplied by the company:

Additional information supplied					Additional information supplied	Additional information supplied

Information			Subsystem			Description					Information	Information
				Subsystem	Subsystem
				Description	Description

## 12
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
1.2	Estimations and hypothesis made by the auditor

The following parameter estimates and hypothesis have been made by the auditor in order to obtain a complete data set for carrying out the necessary calculations. The results presented in this report are only reliable to the extent and within the limits of validity of these basic assumptions.					The following parameter estimates and hypothesis have been made by the auditor in order to obtain a complete data set for carrying out the necessary calculations. The results presented in this report are only reliable to the extent and within the limits of validity of these basic assumptions.	The following parameter estimates and hypothesis have been made by the auditor in order to obtain a complete data set for carrying out the necessary calculations. The results presented in this report are only reliable to the extent and within the limits of validity of these basic assumptions.

Assumptions and Hypothesis made by the auditor					Assumptions and Hypothesis made by the auditor	Assumptions and Hypothesis made by the auditor

Parameter		Description				Value				Justification					Parameter	Parameter
				estimate		(min/max)					Description	Description
FETFuel[2]					0.2/8.4					Value	Value
FETFuel[2]					0.2/8.4					estimate	estimate
FETFuel[2]					0.2/8.4					(min/max)	(min/max)
FETFuel[2]					0.2/8.4					Justification	Justification
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4
FETFuel[2]					0.2/8.4

## Chap2
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Chapter 2		Energy consumption in the present state					Chapter 2

Energy consumption in the present state

2.1	Fuel and electricity consumption					Fuel and electricity consumption	Fuel and electricity consumption

	2.1.1	Primary energy consumption					Primary energy consumption	Primary energy consumption
	2.1.2	Total final energy consumption (FEC) and final energy for thermal use (FET)					Total final energy consumption (FEC) and final energy for thermal use (FET)	Total final energy consumption (FEC) and final energy for thermal use (FET)
	2.1.3	Final energy consumption for thermal use (FET) by equipment					Final energy consumption for thermal use (FET) by equipment	Final energy consumption for thermal use (FET) by equipment

2.2	Heat and cold supply					Heat and cold supply	Heat and cold supply

	2.2.1	Total yearly supply heat by equipment					Total yearly supply heat by equipment	Total yearly supply heat by equipment
	2.2.2	Supply heat by temperature levels and annual operating hours					Supply heat by temperature levels and annual operating hours	Supply heat by temperature levels and annual operating hours
	2.2.3	Distribution of the heat supply by months					Distribution of the heat supply by months	Distribution of the heat supply by months

2.3	Process heat and cold demand					Process heat and cold demand	Process heat and cold demand

	2.3.1	Total annual heat and cold demand by processes					Total annual heat and cold demand by processes	Total annual heat and cold demand by processes
	2.3.2	Total heat demand by temperature levels					Total heat demand by temperature levels	Total heat demand by temperature levels
	2.3.3	Distribution of the heat demand by months					Distribution of the heat demand by months	Distribution of the heat demand by months

2.4	Comparison with benchmark reference data					Comparison with benchmark reference data	Comparison with benchmark reference data

	2.4.1	Benchmarks (1): global energy intensity					Benchmarks (1): global energy intensity	Benchmarks (1): global energy intensity
	2.3.2	Benchmarks (2): specific energy consumption (SEC) by product					Benchmarks (2): specific energy consumption (SEC) by product	Benchmarks (2): specific energy consumption (SEC) by product
	2.3.3	Benchmarks (3): specific energy consumption (SEC) by unit operation					Benchmarks (3): specific energy consumption (SEC) by unit operation	Benchmarks (3): specific energy consumption (SEC) by unit operation

## 211
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.1.1	Primary energy consumption					Primary energy consumption

In the following the global energy consumption for the present state in the industry is analysed in terms of total pimary energy consumption (PEC) and primary energy consumption for thermal use (PET). The difference between both quantities is the energy consumed for non-thermal uses such as transport equipment, motors, etc. The distribution between fuel and electricity consumption is shown graphically.					In the following the global energy consumption for the present state in the industry is analysed in terms of total pimary energy consumption (PEC) and primary energy consumption for thermal use (PET). The difference between both quantities is the energy consumed for non-thermal uses such as transport equipment, motors, etc. The distribution between fuel and electricity consumption is shown graphically.	In the following the global energy consumption for the present state in the industry is analysed in terms of total pimary energy consumption (PEC) and primary energy consumption for thermal use (PET). The difference between both quantities is the energy consumed for non-thermal uses such as transport equipment, motors, etc. The distribution between fuel and electricity consumption is shown graphically.

Table 2.1.1 Total primary energy consumption (PEC) and primary energy consumption for thermal use (PET)					Table 2.1.1 Total primary energy consumption (PEC) and primary energy consumption for thermal use (PET)	Table 2.1.1 Total primary energy consumption (PEC) and primary energy consumption for thermal use (PET)

Energy type (fuels / electricity)					PEC					PET					Energy type (fuels / electricity)	Energy type (fuels / electricity)
				[MWh]			[% of Total]		[MWh]			[% of Total]				[% of Total]	[% of Total]
2					2,00			2,00		2,00			2,00
2					2,00			2,00		2,00			2,00
2					2,00			2,00		2,00			2,00

Distribution of PEC by fuel type
				Distribution of PEC by fuel type	Distribution of PEC by fuel type

Distribution of PET by fuel type					Distribution of PET by fuel type

## 212a
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.1.2	Total final energy consumption (FEC) and final energy for thermal use (FET)					Total final energy consumption (FEC) and final energy for thermal use (FET)

In the following the global energy consumption by fuel type reported is reported for the present state. The total energy consumption (FEC) and the energy consumption for thermal use are shown.					In the following the global energy consumption by fuel type reported is reported for the present state. The total energy consumption (FEC) and the energy consumption for thermal use are shown.	In the following the global energy consumption by fuel type reported is reported for the present state. The total energy consumption (FEC) and the energy consumption for thermal use are shown.

Table 2.1.2 Total final energy consumption (FEC) and final energy for thermal use (FET); present state.					Table 2.1.2 Total final energy consumption (FEC) and final energy for thermal use (FET); present state.	Table 2.1.2 Total final energy consumption (FEC) and final energy for thermal use (FET); present state.

Fuel type					FEC					FET					Fuel type	Fuel type
				[MWh]			[% of Total]		[MWh]			[% of Total]				[% of Total]	[% of Total]
Natural Gas					1000,00			67,00		800,00			67,00
Fuel oil					500,00			33,00		400,00			33,00

Total					1500,00			100,00		1200,00			100,00

Figure 2.1.2.1 Total final energy consumption for thermal use (FET); present state.					Figure 2.1.2.1 Total final energy consumption for thermal use (FET); present state.

## 212b
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.1.2	Total final energy consumption (FEC) and final energy for thermal use (FET)					Total final energy consumption (FEC) and final energy for thermal use (FET)

Figure 2.1.2.2 Total final energy consumption (FEC); present state.					Figure 2.1.2.2 Total final energy consumption (FEC); present state.	Figure 2.1.2.2 Total final energy consumption (FEC); present state.

## 213
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.1.3	Final energy consumption for thermal use (FET) by equipment					Final energy consumption for thermal use (FET) by equipment

In the following the energy consumption for thermal use by equipment is analysed.					In the following the energy consumption for thermal use by equipment is analysed.	In the following the energy consumption for thermal use by equipment is analysed.

Table 2.1.3. Final energy consumption for thermal use (FET) by equipment (present state).					Table 2.1.3. Final energy consumption for thermal use (FET) by equipment (present state).	Table 2.1.3. Final energy consumption for thermal use (FET) by equipment (present state).

Equipment					Fuel type					FET by equipment					Equipment	Equipment
				[MWh]			[% of Total]				Fuel type	Fuel type
Boiler 1					Natural gas					1000,00			40,00				FET by equipment	FET by equipment
Boiler 2					Natural gas					800,00			30,00				[% of Total]	[% of Total]
Boiler 3					s					600,00			20,00
Boiler 4					s					400,00			10,00
Boiler 5					s					200,00			5,00
d					50,00			5,00
d					50,00			5,00
d					50,00			5,00
d					50,00			5,00
d					50,00			5,00

Final energy consumption for thermal use (FET) by equipment					Final energy consumption for thermal use (FET) by equipment

## 221
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.2.1	Total yearly supply heat by equipment					Total yearly supply heat by equipment

In the following the useful supply heat (USH) By equipment is analysed for the present state.					In the following the useful supply heat (USH) By equipment is analysed for the present state.	In the following the useful supply heat (USH) By equipment is analysed for the present state.

Table 2.2.1 Useful supply heat (USH) by equipment; present state.					Table 2.2.1 Useful supply heat (USH) by equipment; present state.	Table 2.2.1 Useful supply heat (USH) by equipment; present state.

Equipment					USH by equipment					Equipment	Equipment
				[MWh]			[% of Total]					USH by equipment	USH by equipment
a					1000,00			40,00					[% of Total]	[% of Total]
b					800,00			30,00
c					600,00			20,00
d					400,00			10,00
e					200,00			5,00

Figure 2.2.1 Useful supply heat (USH) by equipment. Present state.					Figure 2.2.1 Useful supply heat (USH) by equipment. Present state.

## 222
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.2.2	Supply heat by temperature levels and annual operating hours					Supply heat by temperature levels and annual operating hours

	In the following the instantaneous demand for useful supply heat (USH) by temperature levels and annual operating hours is analysed. In Table 2.2.2 data of maximum power and yearly heat demand are given for base load (> 4000 h/a), medium load (> 2000 h/a) and peeak load (< 2000 h).					In the following the instantaneous demand for useful supply heat (USH) by temperature levels and annual operating hours is analysed. In Table 2.2.2 data of maximum power and yearly heat demand are given for base load (> 4000 h/a), medium load (> 2000 h/a) and peeak load (< 2000 h).	In the following the instantaneous demand for useful supply heat (USH) by temperature levels and annual operating hours is analysed. In Table 2.2.2 data of maximum power and yearly heat demand are given for base load (> 4000 h/a), medium load (> 2000 h/a) and peeak load (< 2000 h).

	Table 2.2.2 Supply heat by temperature levels and annual operating hours					Table 2.2.2 Supply heat by temperature levels and annual operating hours	Table 2.2.2 Supply heat by temperature levels and annual operating hours

	Temperature levels		Base load				Medium load				Peak load					Temperature levels	Temperature levels
			power / [kW]		energy / [MWh]		power / [kW]		energy / [MWh]		power / [kW]		energy / [MWh]					Base load	Base load
				Medium load	Medium load
				Peak load	Peak load
				power [kW]	power / [kW]
				energy [MWh]	energy / [MWh]

		Operating hours [h] / Supply heat [kW]

				Supply heat	Supply heat

				Operating hours	Operating hours

	Figure 2.2.2 Distribution of supply heat by temperature levels and annual operating hours. Present state.					Figure 2.2.2 Distribution of supply heat by temperature levels and annual operating hours. Present state.

a	b	c	d	e	f
1	2	3	4	5	6
2	2	3	4	5	6
3	2	3	4	5	6
4	2	3	4	5	6
5	2	3	4	5	6
6	2	3	4	5	6
7	2	3	4	5	6
8	2	3	4	5	6
9	2	3	4	5	6
10	2	3	4	5	6
11	2	3	4	5	6

## 223
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.2.3	Distribution of the heat supply by months					Distribution of the heat supply by months

	In the following the monthly distribution of the heat supply by equipment is analysed and represented graphically.					In the following the monthly distribution of the heat supply by equipment is analysed and represented graphically.	In the following the monthly distribution of the heat supply by equipment is analysed and represented graphically.

	Table 2.2.3 Monthly heat supply from equipment					Table 2.2.3 Monthly heat supply from equipment	Table 2.2.3 Monthly heat supply from equipment

	Equipment			Monthly heat supply					Equipment	Equipment

	Month:			1	2	3	4	5	6	7	8	9	10	11	12			Monthly heat supply	Monthly heat supply
	Boiler 1			1	1	1	0	1	1	1	1	1	1	1	1			Month:	Month:
	Boiler 2			1	1	1	0	1	1	1	1	1	1	1	1
	Solar thermal			1	1	1	0	1	1	1	1	1	0	1	1
	Heat pump 1			1	1	1	0	1	1	1	1	1	0	1	1
	Heat pump 2			1	1	1	0	1	1	1	1	1	0	1	1
	CHP 1			1	1	1	0	1	1	1	1	1	0	1	1
	CHP 2			1	1	1	0	1	1	1	1	1	0	1	1

	Total					Total	Total

		[MWh/month]

				MWh/month	MWh/month
				January	January
				February	February
				March	March
				April	April
				May	May
				June	June
				July	July
				August	August
				September	September
				October	October
				November	November
				December

	Figure 2.2.3 Distribution of the heat supply by months					Figure 2.2.3 Distribution of the heat supply by months

Heat supply	Total	January	February	March	April	May	June	July	August	September	October	November	December
Boiler 1		0,8	0,8	0,8	0,2	0,8	0,8	0,99	0,8	0,8	0,66	0,8	0,8
Boiler 2		0,7	0,7	0,7	0,3	0,7	0,7	0,88	0,7	0,7	0,55	0,7	0,7
Solar thermal		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Heat pump 1		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Heat pump 2		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
CHP 1		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
CHP 2		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6

Total

## 231
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.3.1	Total annual heat and cold demand by processes					Total annual heat and cold demand by processes

	In the following the useful heat demand by processes is analysed for the present state. The process heat demand is composed by: / (a) the circulation heat demand (heating or cooling of inflowing media); / (b) the maintenance heat demand for maintaining the process medium at a certain temperature level during operation / (c) the start-up heat demand for heating up the process equipment and medium at the beginning of operation.					In the following the useful heat demand by processes is analysed for the present state. The process heat demand is composed by: (a) the circulation heat demand (heating or cooling of inflowing media); (b) the maintenance heat demand for maintaining the process medium at a certain temperature level during operation (c) the start-up heat demand for heating up the process equipment and medium at the beginning of operation.	In the following the useful heat demand by processes is analysed for the present state. The process heat demand is composed by: / (a) the circulation heat demand (heating or cooling of inflowing media); / (b) the maintenance heat demand for maintaining the process medium at a certain temperature level during operation / (c) the start-up heat demand for heating up the process equipment and medium at the beginning of operation.

	Table 2.3.1 Useful process heat demand (UPH) by process. Present state.					Table 2.3.1 Useful process heat demand (UPH) by process. Present state.	Table 2.3.1 Useful process heat demand (UPH) by process. Present state.

	Process			Total			Circulation			Maintenance			Start-up					Process	Process
				[MWh]			[MWh]			[MWh]			[MWh]					Total	Total
	a			20,00					Circulation	Circulation
	b			20,00					Maintenance	Maintenance
	c			3,00					Start-up	Start-up
	d			4,00
	e			4,00
	f			4,00
	g			4,00
	h			5,00
	i			6,00
	j			7,00

	Figure 2.3.1 Useful supply heat (USH) by equipment					Figure 2.3.1 Useful supply heat (USH) by equipment

Process		UPH Total		Share		Circulation		Maintenance		Start-up		Proc. temp.		Central suppy temp
		[MWh]		[%]		[MWh]		[MWh]		[MWh]		[ºC]		[ºC]

## 232
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.3.2	Total heat demand by temperature levels					Total heat demand by temperature levels

	The total (aggregate) process heat demand and supply is analysed not only in quantity, but also in quality, this means: by temperature levels. This is important in the subsequent steps for the design of energy efficient supply solutions.					The total (aggregate) process heat demand and supply is analysed not only in quantity, but also in quality, this means: by temperature levels. This is important in the subsequent steps for the design of energy efficient supply solutions.	The total (aggregate) process heat demand and supply is analysed not only in quantity, but also in quality, this means: by temperature levels. This is important in the subsequent steps for the design of energy efficient supply solutions.

	Table 2.3.2 Process heat demand and supply by temperature levels					Table 2.3.2 Process heat demand and supply by temperature levels	Table 2.3.2 Process heat demand and supply by temperature levels

	Temperature level		Process heat consumption by process / temperature					Total heat supply by central heat supply temperature					Temperature level	Temperature level
			[MWh]		[% of total]		[% cumulative]		[MWh]		[% of total]		[% cumulative]					Process heat consumption by process temperature	Process heat consumption by process / temperature
	0		80,00		10,00		10,00		80,00		10,00		10,00					Total heat supply by central heat supply temperature	Total heat supply by central heat supply temperature
	1		80,00		10,00		10,00		80,00		10,00		10,00					[% of total]	[% of total]
	2		80,00		10,00		10,00		80,00		10,00		10,00					[% cumulative]	[% cumulative]
	3		80,00		10,00		10,00		80,00		10,00		10,00
	4		80,00		10,00		10,00		80,00		10,00		10,00
	5		80,00		10,00		10,00		80,00		10,00		10,00

		Temperature [ºC] / Cumulative Heat Demand [MWh]
				Process heat (gross)	Process heat (gross)
				Process heat (net)	Process heat (net)
				Supply heat	Supply heat

				Cumulative Heat Demand	Cumulative Heat Demand

				Temperature	Temperature

	Figure 2.3.2. Distribution of the heat demand by temperature levels					Figure 2.3.2. Distribution of the heat demand by temperature levels

Data table
ProcHeatTemp
	Process heat (gross)	Process heat (net)	Supply heat
T	UPH	UPHNet	USH
1	2	3	4
2	2	3	4
3	2	3	4
4	2	3	4
5	2	3	4
6	2	3	4
7	2	3	4
8	2	3	4
9	2	3	4
10	2	3	4
11	2	3	4
12	2	3	4
13	2	3	4
14	2	3	4
15	2	3	4
16	2	3	4
17	2	3	4
18	2	3	4
19	2	3	4
20	2	3	4
21	2	3	4
22	2	3	4
23	2	3	4
24	2	3	4
25	2	3	4
26	2	3	4
27	2	3	4
28	2	3	4
29	2	3	4
30	2	3	4
31	2	3	4
32	2	3	4
33	2	3	4
34	2	3	4
35	2	3	4
36	2	3	4
37	2	3	4
38	2	3	4
39	2	3	4
40	2	3	4
41	2	3	4
42	2	3	4
43	2	3	4
44	2	3	4
45	2	3	4
46	2	3	4
47	2	3	4
48	2	3	4

## 233
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.3.3	Distribution of the heat demand by months					Distribution of the heat demand by months

	Here the process heat demand is presented distributed by months for the present state.					Here the process heat demand is presented distributed by months for the present state.	Here the process heat demand is presented distributed by months for the present state.

	Table 2.3.3 Monthly process heat demand					Table 2.3.3 Monthly process heat demand	Table 2.3.3 Monthly process heat demand

	Process			Monthly process heat demand					Process	Process
				[MWh]					Monthly process heat demand	Monthly process heat demand
	Month:			1	2	3	4	5	6	7	8	9	10	11	12
	Mozzarella production			0,80	0,80	0,80	0,20	0,80	0,80	0,99	0,80	0,80	0,66	0,80	0,80
	Pasteurization			0,70	0,70	0,70	0,30	0,70	0,70	0,88	0,70	0,70	0,55	0,70	0,70
	Sterillization			0,60	0,60	0,60	0,40	0,60	4,00	0,77	0,60	0,60	0,44	0,60	0,60
	Washing1			0,60	0,60	0,60	4,00	0,60	0,60	0,77	0,60	0,60	0,44	0,60	0,60
	Washing2			0,60	0,60	0,60	0,40	0,60	0,60	0,77	0,60	5,00	0,44	0,60	0,60
	Washing3			0,60	0,60	0,60	0,40	0,60	0,60	0,77	0,60	0,60	0,44	0,60	0,60
	Washing4			0,60	0,60	0,60	0,40	0,60	0,60	0,77	0,60	0,60	0,44	0,60	0,60

	Total					Total	Total

	[MWh/month]

				MWh/month	MWh/month
				January	January
				February	February
				March	March
				April	April
				May	May
				June	June
				July	July
				August	August
				September	September
				October
				November
				December

	Figure 2.3.3 Distribution of the heat demand by months. Present state.					Figure 2.3.3 Distribution of the heat demand by months. Present state.

Process heat demand	Total	January	February	March	April	May	June	July	August	September	October	November	December
Mozzarella production		0,8	0,8	0,8	0,2	0,8	0,8	0,99	0,8	0,8	0,66	0,8	0,8
Pasteurization		0,7	0,7	0,7	0,3	0,7	0,7	0,88	0,7	0,7	0,55	0,7	0,7
Sterillization		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Washing1		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Washing2		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Washing3		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6
Washing4		0,6	0,6	0,6	0,4	0,6	0,6	0,77	0,6	0,6	0,44	0,6	0,6

Total

## 241
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	2.4.1	Benchmarks (1): global energy intensity					Benchmarks (1): global energy intensity

	In the following, the present state energy consumption is compared with reference ratios (benchmarks) for global energy intensity (energy consumption per unit value of turnover [kWh/EUR])					In the following, the present state energy consumption is compared with reference ratios (benchmarks) for global energy intensity (energy consumption per unit value of turnover [kWh/EUR])	In the following, the present state energy consumption is compared with reference ratios (benchmarks) for global energy intensity (energy consumption per unit value of turnover [kWh/EUR])

	Table 2.4.1 Available reference ratios for energy intensity					Table 2.4.1 Available reference ratios for energy intensity	Table 2.4.1 Available reference ratios for energy intensity

	Source			Reference				Validity		Primary energy		Fuels		Electricity				Source	Source
				[kWh/€]		[kWh/€]		[kWh/€]				Reference	Reference
	Present state					2,90		2,20		0,15				Validity	Validity
	Source 1					3,80		1,50		1,00				Primary energy	Primary energy
	Source 2					5,20		2,00		1,00				Fuels	Fuels
	dc					Electricity	Electricity
	dd					Present state	Present state
	dd

		energy intensity (fuels) [kWh/€] / energy intensity (electricity) [kWh/€]

				energy intensity (electricity) [kWh/€]	energy intensity (electricity) [kWh/€]

				energy intensity (fuels) [kWh/€]	energy intensity (fuels) [kWh/€]

	Figure 2.4.1 Comparison of present state energy intensity (fuels and electricity) with available benchmark ratios					Figure 2.4.1 Comparison of present state energy intensity (fuels and electricity) with available benchmark ratios

	TAR-F	TAR-E	BM-F					BM-E
PS					0
BM1	1	0,1	0	1	2	3	2	0	1	1	1	1
BM2	2	0,2	0	2	4	6	4	0	2	2	2	2
BM3	4	0,4	0	4	8	12	8	0	4	4	4	4
BM4	8	0,8	0	8	16	24	16	0	8	8	8	8
BM5	16	1,6	0	16	32	48	32	0	16	16	16	16
BM6	32	3,2	0	32	64	96	64	0	32	32	32	32
BM7	64	6,4	0	64	128	192	128	0	64	64	64	64
BM8	128	12,8	0	128	256	384	256	0	128	128	128	128
BM9	256	25,6	0	256	512	768	512	0	256	256	256	256
BM10	512	51,2	0	512	1024	1536	1024	0	512	512	512	512

## 242_Proc01
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.4.2	Benchmarks (2): specific energy consumption (SEC) by product					Benchmarks (2): specific energy consumption (SEC) by product

In the following the specific energy consumption for each product is compared with reference ratios (benchmarks). Part of the energy consumption for general services is added to the energy consumption of the product specific processes, in the proportion of the product on total turnover.					In the following the specific energy consumption for each product is compared with reference ratios (benchmarks). Part of the energy consumption for general services is added to the energy consumption of the product specific processes, in the proportion of the product on total turnover.	In the following the specific energy consumption for each product is compared with reference ratios (benchmarks). Part of the energy consumption for general services is added to the energy consumption of the product specific processes, in the proportion of the product on total turnover.

Reference ratios for product:				Milk					Product unit (pu):			[t]					Reference ratios for product:	Reference ratios for product:
				Product unit (pu):	Product unit (pu):
Yearly production				[t]		10.000					Yearly production	Yearly production
Yearly turnover for this product				M€		1,50					Yearly turnover for this product	Yearly turnover for this product
Percentage on total turnover					27,3%					Percentage on total turnover	Percentage on total turnover

Table 2.4.2 Available reference ratios for specific energy consumption (SEC) per quantity of product. Present state.					Table 2.4.2 Available reference ratios for specific energy consumption (SEC) per quantity of product. Present state.	Table 2.4.2 Available reference ratios for specific energy consumption (SEC) per quantity of product. Present state.

Source			Reference				Validity		Primary energy		Fuels		Electricity				Source	Source
				[kWh/pu]		[kWh/pu]		[kWh/pu]				Reference	Reference
Present state					2,90		2,20		0,15				Validity	Validity
Source 1					3,80		1,50		1,00				Primary energy	Primary energy
Source 2					5,20		2,00		1,00				Fuels	Fuels
				Electricity	Electricity
				Present state	Present state
				[kWh/pu]	[kWh/pu]

	SEC per product (fuels) [kWh/pu] / SEC per product (electricity) [kWh/pu]

				SEC per product (electricity) [kWh/pu]	SEC per product (electricity) [kWh/pu]

				SEC per product (fuels) [kWh/pu]

Figure 2.4.2 Comparison of present state SEC per product (fuels and electricity) with available benchmark ratios					Figure 2.4.2 Comparison of present state SEC per product (fuels and electricity) with available benchmark ratios

## 243_UnitOp01
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
2.4.3	Benchmarks (3): specific energy consumption (SEC) by unit operation					Benchmarks (3): specific energy consumption (SEC) by unit operation

Here the energy consumption for each product for the present state is compared with reference ratios (benchmarks) for specific energy consumption per quantity of product [kWh/pu] (SEC)					Here the energy consumption for each product for the present state is compared with reference ratios (benchmarks) for specific energy consumption per quantity of product [kWh/pu] (SEC)	Here the energy consumption for each product for the present state is compared with reference ratios (benchmarks) for specific energy consumption per quantity of product [kWh/pu] (SEC)
Unit operation:				Pasteurising					Reference medium:			water					Unit operation:	Unit operation:
				Product unit (pu):			[t]					Reference medium:	Reference medium:
Yearly volume processed				[t]		10.000					Product unit (pu):	Product unit (pu):
				Yearly volume processed	Yearly volume processed
Table 2.4.3 Available reference ratios for specific energy consumption (SEC) per unit operation					Table 2.4.3 Available reference ratios for specific energy consumption (SEC) per unit operation	Table 2.4.3 Available reference ratios for specific energy consumption (SEC) per unit operation

Source			Reference				Validity		Primary energy		Fuels		Electricity				Table 2.4.2 Available reference ratios for specific energy consumption (SEC) per quantity of product. Present state.	Table 2.4.2 Available reference ratios for specific energy consumption (SEC) per quantity of product. Present state.
				[kWh/pu]		[kWh/pu]		[kWh/pu]
Present state					2,90		2,20		0,15				Source	Source
Source 1					3,80		1,50		1,00				Reference	Reference
Source 2					5,20		2,00		1,00				Validity	Validity
				Primary energy	Primary energy
				Fuels	Fuels
				Electricity	Electricity
				Present state	Present state
				[kWh/pu]	[kWh/pu]

	SEC per product (fuels) [kWh/pu] / SEC per product (electricity) [kWh/pu]

				SEC per unit operation (electricity) [kWh/pu]	SEC per unit operation (electricity) [kWh/pu]

				SEC per unit operation (fuels) [kWh/pu]

Figure 2.4.3 Comparison of present state SEC per unit operation (fuels and electricity) with available benchmark ratios					Figure 2.4.3 Comparison of present state SEC per unit operation (fuels and electricity) with available benchmark ratios

## Chap3
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Chapter 3		Description of Alternatives Proposed

Description of Alternatives Proposed

	Overview table					Overview table	Overview table

3.1	<Alternative 1>

	3.1.1	Process optimisation					Process optimisation	Process optimisation
	3.1.2	Heat recovery					Heat recovery	Heat recovery
	3.1.3	Heat supply system					Heat supply system	Heat supply system
	3.1.4	Hydraulic schemes and block diagrams					Hydraulic schemes and block diagrams	Hydraulic schemes and block diagrams

3.2	<Alternative 2>

	3.2.1	Process optimisation
	3.2.2	Heat recovery
	3.2.3	Heat supply system
	3.2.4	Hydraulic schemes and block diagrams

3.3	<Alternative 3>

	3.3.1	Process optimisation
	3.3.2	Heat recovery
	3.3.3	Heat supply system
	3.3.4	Hydraulic schemes and block diagrams

3.4	<Alternative 4>

	3.4.1	Process optimisation
	3.4.2	Heat recovery
	3.4.3	Heat supply system
	3.4.4	Hydraulic schemes and block diagrams

3.5	<Alternative 5>

	3.5.1	Process optimisation
	3.5.2	Heat recovery
	3.5.3	Heat supply system
	3.5.4	Hydraulic schemes and block diagrams

## 30
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
3.0	Description of Alternatives Proposed

A comparative study of different possible alternative options has been carried out. / The different alternatives studied are listed in the following table.					A comparative study of different possible alternative options has been carried out. The different alternatives studied are listed in the following table.	A comparative study of different possible alternative options has been carried out. / The different alternatives studied are listed in the following table.

Table 3.0 Overview of the alternative proposals studied					Table 3.0 Overview of the alternative proposals studied	Table 3.0 Overview of the alternative proposals studied

Short Name			Description					Short Name	Short Name
				Description	Description

## 313_A01
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
3.1.3	<Alternative 1>: heat & cold supply system					<Alternative 1>: heat & cold supply system

In the following the composition of the heat and cold supply system for the this alternative is described					In the following the composition of the heat and cold supply system for the this alternative is described	In the following the composition of the heat and cold supply system for the this alternative is described

Table 3.1.3 Heat supply equipment and contribution to total heat supply					Table 3.1.3 Heat supply equipment and contribution to total heat supply	Table 3.1.3 Heat supply equipment and contribution to total heat supply

Equipment			Type			Heat supplied to pipe/duct			Nominal capacity		Contribution to total heat supply					Equipment	Equipment
				[kW]		[MWh]		[%]				Type	Type
				1000,00		1000,00		40,00				Heat supplied to pipe/duct	Heat supplied to pipe/duct
				1000,00		1000,00		40,00				Nominal capacity	Nominal capacity
				1000,00		1000,00		40,00				Contribution to total heat supply	Contribution to total heat supply
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00
				1000,00		1000,00		40,00

Figure 3.1.3. Contribution of each equipemtn to the total useful heat supply (USH).					Figure 3.1.3. Contribution of each equipemtn to the total useful heat supply (USH).

## Chap4
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Chapter 4		Comparative Study of the Proposed Alternatives					Chapter 4

Comparative Study of the Proposed Alternatives

## 41
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.1	Primary Energy Consumption					Primary Energy Consumption

The total primary energy consumption is the most relevant parameter for the energetic and environmental evaluation of a proposal. In the following the different alternatives are compared to the present state with respect to this parameter.					The total primary energy consumption is the most relevant parameter for the energetic and environmental evaluation of a proposal. In the following the different alternatives are compared to the present state with respect to this parameter.	The total primary energy consumption is the most relevant parameter for the energetic and environmental evaluation of a proposal. In the following the different alternatives are compared to the present state with respect to this parameter.

Table 4.1. Primary energy consumption: present state and alternative proposals.					Table 4.1. Primary energy consumption: present state and alternative proposals.	Table 4.1. Primary energy consumption: present state and alternative proposals.

Alternative					Primary energy / consumption			Savings			Savings					Alternative	Alternative
				[MWh]			[MWh]			[%]					Primary energy consumption	Primary energy / consumption
				Savings	Savings

Figure 4.1. Comparison of alternatives: primary energy consumption					Figure 4.1. Comparison of alternatives: primary energy consumption

## 42
	enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
	4.2	Useful Process Heat (UPH) and Useful Supply Heat (USH)					Useful Process Heat (UPH) and Useful Supply Heat (USH)

	The comparison of the useful process and supply heat gives an overview on the demand reduction that has been obtained by process optimisation, heat recovery and improvement of the heat distribution system					The comparison of the useful process and supply heat gives an overview on the demand reduction that has been obtained by process optimisation, heat recovery and improvement of the heat distribution system	The comparison of the useful process and supply heat gives an overview on the demand reduction that has been obtained by process optimisation, heat recovery and improvement of the heat distribution system

	Table 4.2 Useful process and supply heat: present state and alternative proposals.					Table 4.2 Useful process and supply heat: present state and alternative proposals.	Table 4.2 Useful process and supply heat: present state and alternative proposals.

	Alternative			Useful process heat / (UPH)			Savings UPH			Useful supply heat / (USH)			Savings USH					Alternative	Alternative
				[MWh]			[MWh]			[MWh]			[MWh]					Useful process heat (UPH)	Useful process heat / (UPH)
				Savings UPH	Savings UPH
				Useful supply heat (USH)	Useful supply heat / (USH)
				Savings USH	Savings USH

				UPH [% of present state]	UPH [% of present state]
				USH [% of present state]	USH [% of present state]

	Figure 4.2. Comparison of alternatives: useful process and supply heat					Figure 4.2. Comparison of alternatives: useful process and supply heat

UPH [% of present state]	USH [% of present state]
[%]	[%]
100,00	100,00
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!
#DIV/0!	#DIV/0!

## 43
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.3	Environmental Impact					Environmental Impact

The environmental impact for the present state and the different alternatives is presented in terms of CO2 production, highly radioactive nuclear waste and water consumption.					The environmental impact for the present state and the different alternatives is presented in terms of CO2 production, highly radioactive nuclear waste and water consumption.	The environmental impact for the present state and the different alternatives is presented in terms of CO2 production, highly radioactive nuclear waste and water consumption.

Table 4.3 Environmental impact: present state and alternative proposals.					Table 4.3 Environmental impact: present state and alternative proposals.	Table 4.3 Environmental impact: present state and alternative proposals.

Alternative					Production of CO2			Highly Radioactive / Nuclear Waste			Water consumption					Alternative	Alternative
				[t]			[kg]			[m3]					Production of CO2	Production of CO2
				Highly Radioactive Nuclear Waste	Highly Radioactive / Nuclear Waste
				Water consumption	Water consumption

Figure 4.3 Comparison of alternatives: environmental impact					Figure 4.3 Comparison of alternatives: environmental impact

## 44
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.4	Investment cost					Investment cost

In the following the estimated total (turn-key) investment cost for the different alternatives is presented, that includes all proposed measures from process optimisation to heat recovery and investment in the heat and cold supply system. If substitution of existing equipment is foreseen, and re-sale of this equipment is possible, the residual value of these equipes is discounted. / The cost figures are calculated on the base of standard reference values for given equipment types and may vary substantially depending on a specific equipment model and/or supplier.					In the following the estimated total (turn-key) investment cost for the different alternatives is presented, that includes all proposed measures from process optimisation to heat recovery and investment in the heat and cold supply system. If substitution of existing equipment is foreseen, and re-sale of this equipment is possible, the residual value of these equipes is discounted. The cost figures are calculated on the base of standard reference values for given equipment types and may vary substantially depending on a specific equipment model and/or supplier.	In the following the estimated total (turn-key) investment cost for the different alternatives is presented, that includes all proposed measures from process optimisation to heat recovery and investment in the heat and cold supply system. If substitution of existing equipment is foreseen, and re-sale of this equipment is possible, the residual value of these equipes is discounted. / The cost figures are calculated on the base of standard reference values for given equipment types and may vary substantially depending on a specific equipment model and/or supplier.

Table 4.4 Investment cost: alternative proposals.					Table 4.4 Investment cost: alternative proposals.	Table 4.4 Investment cost: alternative proposals.

Alternative					Total investment			Own investment			Subsidies					Alternative	Alternative
				[EUR]			[EUR]			[EUR]					Total investment	Total investment
				Own investment	Own investment
				Subsidies	Subsidies

Figure 4.4 Comparison of alternatives: Investment cost					Figure 4.4 Comparison of alternatives: Investment cost

## 45
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.5	Total Annual Cost					Total Annual Cost

In the following the total annual cost for the present state and the different alternatives is presented. This cost includes the cost for purchase of fuels and electricity, the operation and maintenance cost of the heat and cold supply equipment and the annuity of investment.					In the following the total annual cost for the present state and the different alternatives is presented. This cost includes the cost for purchase of fuels and electricity, the operation and maintenance cost of the heat and cold supply equipment and the annuity of investment.	In the following the total annual cost for the present state and the different alternatives is presented. This cost includes the cost for purchase of fuels and electricity, the operation and maintenance cost of the heat and cold supply equipment and the annuity of investment.
Economic parameters used in the analysis:					Economic parameters used in the analysis:	Economic parameters used in the analysis:
	Real interest rate (*)				[%]	6,00		(*) Real interest rate = nominal interest rate – inflation rate					Real interest rate (*)	Real interest rate (*)
	Economic depreciation period				[a]	15,00					(*) Real interest rate = nominal interest rate – inflation rate	(*) Real interest rate = nominal interest rate – inflation rate
	Annuity (**) of initial investment				[%]	10,30		(**) Annual payments for interest and depreciation					Economic depreciation period	Economic depreciation period
				Annuity (**) of initial investment	Annuity (**) of initial investment
Table 4.5 Total annual cost (fuels and electricity, O&M and annuity of investment): present state and alternative proposals.					(**) Annual payments for interest and depreciation	(**) Annual payments for interest and depreciation

Alternative					Annuity			Energy Cost			O&M					Table 4.5 Total annual cost (fuels and electricity, O&M and annuity of investment): present state and alternative proposals.	Table 4.5 Total annual cost (fuels and electricity, O&M and annuity of investment): present state and alternative proposals.
				[€]			[€]			[€]					Alternative	Alternative
				Annuity	Annuity
				Energy Cost	Energy Cost
				O&M	O&M

Figure 4.5 Comparison of alternatives: Total annual cost (fuels and electricity, O&M and annuity of investment)					Figure 4.5 Comparison of alternatives: Total annual cost (fuels and electricity, O&M and annuity of investment)

## 46
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.6	Additional Cost per Saved Primary Energy					Additional Cost per Saved Primary Energy

In this section the specific additional total annual cost per saved primary energy is analysed for the different alternatives with respect to the present state used as a reference. This parameter indicates the total (macroeconmic, i.e.: w/o subsidies) effort that has to be assumed in order to reduce the environmental impact. A negative specific annual cost means that a given alternative saves both energy and money.					In this section the specific additional total annual cost per saved primary energy is analysed for the different alternatives with respect to the present state used as a reference. This parameter indicates the total (macroeconmic, i.e.: w/o subsidies) effort that has to be assumed in order to reduce the environmental impact. A negative specific annual cost means that a given alternative saves both energy and money.	In this section the specific additional total annual cost per saved primary energy is analysed for the different alternatives with respect to the present state used as a reference. This parameter indicates the total (macroeconmic, i.e.: w/o subsidies) effort that has to be assumed in order to reduce the environmental impact. A negative specific annual cost means that a given alternative saves both energy and money.

Table 4.6 Total additional cost (w/o subsidies) per saved primary energy (PE): present state (reference) and alternative proposals.					Table 4.6 Total additional cost (w/o subsidies) per saved primary energy (PE): present state (reference) and alternative proposals.	Table 4.6 Total additional cost (w/o subsidies) per saved primary energy (PE): present state (reference) and alternative proposals.

Alternative					Total energy cost / (incl. O&M and invest.)			Additional cost			Additional cost / per saved PE					Alternative	Alternative
				[€]			[€]			[€/MWh]
				Total energy cost (incl. O&M and invest.)	Total energy cost / (incl. O&M and invest.)
				Additional cost	Additional cost
				Additional cost per saved PE	Additional cost / per saved PE

Figure 4.6 Comparison of alternatives: Total additional cost per saved primary energy.					Figure 4.6 Comparison of alternatives: Total additional cost per saved primary energy.

## 47
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
4.7	Internal Rate of Return (IRR) and Net Present Value (NPV)					Internal Rate of Return (IRR) and Net Present Value (NPV)

In the following, the main economic parameters are given for the different alternative proposals: the internal rate of return (IRR) and the net present value (NPV) after 15 years of operation.					In the following, the main economic parameters are given for the different alternative proposals: the internal rate of return (IRR) and the net present value (NPV) after 15 years of operation.	In the following, the main economic parameters are given for the different alternative proposals: the internal rate of return (IRR) and the net present value (NPV) after 15 years of operation.

Table 4.7 Internal rate of return (IRR) and net present value (NPV) of investment: alternative proposals.					Table 4.7 Internal rate of return (IRR) and net present value (NPV) of investment: alternative proposals.	Table 4.7 Internal rate of return (IRR) and net present value (NPV) of investment: alternative proposals.

Alternative					Investment			Internal rate of return			Net present value / (15 years)					Alternative	Alternative
				[€]			[%]			[€]				Investment	Investment
				Internal rate of return	Internal rate of return
				Net present value (15 years)	Net present value / (15 years)

Figure 4.7 Comparison of alternatives: Internal rate of return (IRR) on investment and net present value (NPV).					Figure 4.7 Comparison of alternatives: Internal rate of return (IRR) on investment and net present value (NPV).

## Annex1
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Annex 1: Conversion Factors used in the Analysis					Conversion factors used in the analysis
				Parameter
				Description	Description
Conversion factors used in the analysis					Unit	Unit

Parameter		Description				Unit		Value		Reference					Value	Value
electricity mix					Reference	Reference
PEConvEl		Conversion factor from primary energy to electricity from electricity grid				kWhPE/kWhe					Conversion factor from primary energy to electricity from electricity grid	Conversion factor from primary energy to electricity from electricity grid
CO2ConvEl		Specific CO2 generation – electricity from grid				t/kWhe		0,50					Specific CO2 generation – electricity from grid	Specific CO2 generation – electricity from grid
HRConvEl		Specific generation highly radioactive nuclear waste – electricity from grid				g/kWhe		5,00					Specific generation highly radioactive nuclear waste – electricity from grid	Specific generation highly radioactive nuclear waste – electricity from grid
fuels used
PEConvFuel / (natural gas)		Conversion factor from primary energy to final energy (LCV)					Conversion factor from primary energy to final energy (LCV)	Conversion factor from primary energy to final energy (LCV)
CO2ConvFuel / (natural gas)		Specific CO2 generation per unit of final energy (LCV)					Specific CO2 generation per unit of final energy (LCV)	Specific CO2 generation per unit of final energy (LCV)

## Annex2
enerCHEESEexperts SL, Barcelona, Spain					EN	EN	CAT	CZ	DE	ES	FR	IT	PL	SI
Annex 2: Questionnaire with Industry Data

Annex 2: Questionnaire with Industry Data